## Sheet1
				BILL OF QUANTITIES - BID PROPOSAL FORM

PROJECT TITLE		:		PROPOSED RENOVATION OF JOAQUIN GONZALEZ - PHASE 2
				University of the Philippines Manila

NAME OF BIDDER		:

ADDRESS		:

CONTACT NO(S).		:

TOTAL LUMP SUM BID		:					PhP

ITEM	QTY.		UNIT(S)		DESCRIPTION(S)		UNIT COST		TOTAL COST

1.00	GEN. REQ'Ts. / SITEWORKS

	Mobilization/Demobilization
	1.00		lot		Mobilization & Demobilization	PhP		PhP
	1.00		lot		Haul Debris/Excess Materials
				Sub-Direct Cost			PhP

	Demolition Works
	1.00		lot		Demolition of existing partition wall (C.R), doors, windows,	PhP		PhP
				ceilings, toilets fixtures, and other related areas
				Sub-Direct Cost			PhP

	Temporary Facilities
	1.00		lot		Scaffolding, boards ups, canvass/temporary	PhP		PhP
				covering and safety signages
				Sub-Direct Cost			PhP

	Permits and Licences
	1.00		lot		Government permits and Engineering Licenses	PhP		PhP
				Sub-Direct Cost			PhP

	Health & Safety
				Personal Protective Equipment ( Hard hat, Gloves, Dust Mask, Etc.)	PhP		PhP
				Sub-Direct Cost			PhP

				Total for General Requirements / Siteworks			PhP

2.00	CIVIL WORKS

	Earthworks
	52.92	49.27	cu.m.		Excavation	PhP		PhP
	15.88	1.80	cu.m.		Backfill and compaction
	76.50	106.40	cu.m.		Gravel Fill
				Sub-Direct Cost			PhP

	Formworks and Scaffolding
	1.00		lot		Formworks and Scaffolding	PhP		PhP
				Sub-Direct Cost			PhP

	Concreting Works (Slab)
	38.00		cu.m.		Concrete (Class A or 4000 psi)	PhP		PhP
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Reinforcement Works
	4,819.28		kg(s)		Reinforcing bars 60 ksi	PhP		PhP
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Masonry
	143.58		sqm.		100mm CHB wall jointed in cement mortar including	PhP		PhP
				10mm Ø reinforcement bars and plastered finish
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Chipping Works
	1.00		lot		Chipping of existing concrete ledge,	PhP		PhP
				concrete topping & floor tiles
				Sub-Direct Cost			PhP

	Waterproofing Works
	1,498.59		sqm.		Scraping of existing wall paints (Exterior wall)	PhP		PhP
	1,498.59		sqm.		Exterior painting, UPM Color
	453.00		gal(s)		PME-202 (Top coat) Multi-high quality waterproofing film
	66.00		gal(s)		PME -901 Primer, cement & mortar intensifier
	334.00		bag(s)		40kg Cement
	28.00		cu.m.		Sand
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

				Total for Civil Works			PhP

3.00	ARCHITECTURAL WORKS

	Doors

	1.00		set(s)		(D-1) 1.60 x 2.10 m (H)	PhP		PhP
				Double swing type door
				Panel:GI sheet, GA #18 thk , 44 mm thk
				Jamb:GI sheet, GA # 16 (97mm), 2" x 4" single rabbet
				Insulation: 44 mm thk Honeycomb
				Hinges:4 pcs/panel S/S 4.5" x 4" x 3.5 mm thk butterfly ballbearing hinges
				Handles: 2pcs panel stainless pull handles with plate (front & rear)
				Lockset: Lock Cylinder (1 side Cylinder & AMP, (1 side knob)
				Door closer:Surface mount door closer (60kg-weight capacity) ISO9002
				Finished: Epoxy primer (gray)/Duco paint finished,
				Accessories: threshold with door bottom sweep/seal

	1.00		set(s)		(D-2) 1.00 x 2.10 m (H)
				Single panel steel flush swing type door
				Panel:GI sheet, GA #18 thk , 44 mm thk
				Jamb:GI sheet, GA # 16 (97mm), 2" x 4" single rabbet
				Insulation: 44 mm thk Honeycomb
				Hinges:4 pcs/panel S/S 4.5" x 4" x 3.5 mm thk butterfly ballbearing hinges
				Handles: 2pcs panel stainless pull handles with plate (front & rear)
				Lockset: Lock Cylinder (1 side Cylinder & AMP, (1 side knob)
				Door closer:Surface mount door closer (60kg-weight capacity) ISO9002
				Finished: Epoxy primer (gray)/Duco paint finished,
				Accessories: threshold with door bottom sweep/seal

	9.00		set(s)		(D-3) 1.00 x 2.10 m (H)
				Single panel fire rated steel flush swing type door
				Panel:GI sheet, GA #18 thk , 44 mm thk
				Jamb:GI sheet, GA # 16 (97mm), 2" x 4" single rabbet
				Insulation: 44 mm thk Honeycomb
				Hinges:4 pcs/panel S/S 4.5" x 4" x 3.5 mm thk butterfly ballbearing hinges
				Handles:Panic device, 90 minutes fire rating
				Door closer:Surface mount door closer (60kg-weight capacity) ISO9002
				Fire Rate:4 hours fire rated as per BS476, Part 22
				Finished: Epoxy Primer (gray)/duco paint finished

	6.00		set(s)		(D-4) 0.70 x 2.10 m (H)
				Single panel steel flush swing type door
				Panel:GI sheet, GA #18 thk , 44 mm thk
				Jamb:GI sheet, GA # 16 (97mm), 2" x 4" single rabbet
				Insulation: 44 mm thk Honeycomb
				Hinges:4 pcs/panel S/S 4.5" x 4" x 3.5 mm thk butterfly ballbearing hinges
				Handles: 2pcs panel stainless pull handles with plate (front & rear)
				Lockset: Lock Cylinder (1 side Cylinder & AMP, (1 side knob)
				Door closer:Surface mount door closer (60kg-weight capacity) ISO9002
				Finished: Epoxy primer (gray)/Duco paint finished,
				Accessories: threshold with door bottom sweep/seal

	1.00		set(s)		(D-5) 2.62 x 2.10 m (H)
				Operable Wall Partition
				60mm thk @ 990mm (min.) Up to 1200mm (max.)
				In panel width 2.5mm thk x 60mm aluminium profile in silver
				satin anodized/ powder coated fin 38mm for top and
				76mm for bottom in silver satin anodized/powder coated
				fin 4-wheeled heavy duty roller assembly for every panel
				capable of any angle high density rockwool insulation
				using 2pcf x 50mm thk 3mm thk x 60mm x 80mm glider steel
				track type, painted in black color quick setting pressure type
				retractable top and bottom seal for superior acoustical
				performance seal-off the gap between the wall and the last
				panel to prevent sound leak. 32-35stc deluxe type.

	2.00		set(s)		(D-6) 2.50 x 2.70 m (H)
				Double Sliding Steel Grilles Gate
				Heavy Duty Wheel Fix Roller & Door Tracklock Plate, Secured with
				Locking Mechanism,
				Finished: Epoxy Primer (Gray)/Duco Paint Finished

	1.00		set(s)		(D-7) 1.80 x 2.1 m (H)
				Double frame panel glass swing type door
				12mm thk tempered clear glass with
				8 mil security film on aluminum poweder coated frame,
				3M diffuser film and 3M sticker UPM logo to match pantone,
				36 mm dia. stainless steel foor handles, lockset and accessories

				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Windows

	1.00		set(s)		(W-1) 3.25 m (L) x 1.20 m (H)	PhP		PhP
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	6.00		set(s)		(W-2) 2.70 m (L) x 1.80 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	1.00		set(s)		(W-3) 2.70 m (L) x 1.70 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	13.00		set(s)		(W-4) 2.65 m (L) x 1.40 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	1.00		set(s)		(W-5) 2.65 m (L) x 1.20 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	2.00		set(s)		(W-6) 2.00 m (L) x 1.20 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	7.00		set(s)		(W-7) 1.80 m (L) x 1.80 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	9.00		set(s)		(W-8) 1.80 m (L) x 1.40 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	5.00		set(s)		(W-9) 1.75 m (L) x 1.70 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	10.00		set(s)		(W-10) 1.50 m (L) x 1.20 m (H)
				Casement Fix Type Window
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation

	7.00		set(s)		(W-11) 1.50 m (L) x 1.15 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	2.00		set(s)		(W-12) 1.35 m (L) x 1.20 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	1.00		set(s)		(W-13) 0.90 m (L) x 1.70 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	5.00		set(s)		(W-14) 0.85 m (L) x 1.40 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	1.00		set(s)		(W-15) 0.80 m (L) x 1.70 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	1.00		set(s)		(W-16) 0.70 m (L) x 1.15 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	4.00		set(s)		(W-17) 4.35 m (L) x 1.10 m (H)
				Awning Window
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	8.00		set(s)		(W-18) 1.35 m (L) x 0.60 m (H)
				Casement w/ transom
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	1.00		set(s)		(W-19) 0.90 m (L) x 0.60 m (H)
				Sliding Window
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	6.00		set(s)		(W-20) 0.60 m (L) x 0.60 m (H)
				Sliding Window
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film to match pantone.
				complete accessories and installation
				Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal)

	2.00		set(s)		(W-21) 1.00 m (L) x 1.00 m (H)
				Transaction Window
				6mm thk tempered clear glass w/ 8 mil security film on
				aluminum powder coated frame,
				3M diffuser film and 3M signage sticker to match pantone.
				Complete accessories and installation fabrication of transaction
				counter on 12mm thk solid surface on 6mm thk ficem board and
				50mm x 50mm x 6 mm angular bar, welded.

				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost
	Partitions Works

	1,387.00		pc(s)		600mm x 600mm homogeneous porcelain, Wall tiles (polished)	PhP		PhP
	104.00		bag(s)		Tile Adhesive ( 25 kg.)	PhP		PhP
	53.00		bag(s)		Tile Grout (5 kg.)	PhP		PhP
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Toilet Wall Partition

				Camp Clinic (UPM Main Building, Ground Floor)
	1.00		set(s)		Male Toilet	PhP		PhP
				corner unit with 1 cubicle, 1 divider & 1 door
				2.00 m (W) x 1.20 m (D)

	1.00		set(s)		Female Toilet
				corner unit with 2 cubicles, 2 dividers & 2 doors
				2.00 m (W) x 1.20 m (D)

	1.00		set(s)		CRECHE (Common CR)
				corner unit with 2 cubicle, 1 divider & 2 door
				2.00 m (W) x 1.20 m (D)

				Toilet-1 (UPM Main Building, 2nd floor & third floor)
	2.00		set(s)		Male Toilet
				corner unit with 2 cubicles, 2 dividers & 2 doors
				2.00 m (W) x 1.20 m (D)

	2.00		set(s)		Female Toilet
				corner unit with 2 cubicles, 2 dividers & 2 doors
				2.00 m (W) x 1.20 m (D)

				Toilet-2 (UPM Main Building, 2nd floor & third floor)
	2.00		set(s)		Male Toilet
				corner unit with 2 cubicles, 2 dividers & 2 doors
				2.00 m (W) x 1.20 m (D)

	2.00		set(s)		Female Toilet
				corner unit with 2 cubicles, 2 dividers & 2 doors
				2.00 m (W) x 1.20 m (D)

				Toilet-6 (UPM Annex Building, third floor & fourth floor)
	2.00		set(s)		Male Toilet
				corner unit with 3 cubicles, 3 dividers & 3 doors
				3.00 m (W) x 1.20 m (D)

	2.00		set(s)		Female Toilet
				corner unit with 3 cubicles, 3 dividers & 3 doors
				3.00 m (W) x 1.20 m (D)

	2.00		set(s)		Urinal Partiton
				2 dividers
				0.60 m (W) x 1.80 m (H)
				Sub-Direct Cost			PhP

	Flooring Works

	1,625.14		sq.m.		(FF-01) 300 mm x 300 mm Vinyl Floor Tiles	PhP		PhP
	1,625.14		sq.m.		Floor level preparation
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	532.00		pc(s)		(FF-02) 6"x 36" x 3.0mm Vinyl Floor Planks	PhP		PhP
	28.00		gal(s)		Tile Adhesive
	66.33		sq.m.		Floor level preparation
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	576.00		pc(s)		(FF-03) 600 mm x 600 mm Homogeneous Porcelain	PhP		PhP
				Floor Tiles (non-polished/non skid)
	42.00		bag(s)		Tile Adhesive ( 25 kg.)
	22.00		bag(s)		Tile Grout (5 kg.)
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	306.00		sqm		(FF-05) Rolled Vinyl Sheet	PhP		PhP
	306.00		sq.m.		Floor level preparation
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Ceiling Works

	183.15	215.00	sqm		(CF-01) 0.60 m x 0.60 m x 4.50 mm thk. Fiber cement board panel	PhP		PhP
				on T-runner ,puttied, sanded and ready
				to receive paint primer coating
	183.15		sqm		Painting of new ceiling in odor-less antibacterial latex paint,
				semi-gloss finished

	541.02		sqm		(CF-02) 4.5 mm thk Fiber Cement Board
				on metal furring, puttied, sanded and ready to receive paint
	541.02		sqm		Painting of new ceiling in odor-less antibacterial latex paint,
				semi-gloss finished

				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Painting Works

	1,914.90		sqm		Surface preparation for comfort room existing wall (interior)	PhP
	1,914.90		sqm		Repainting of ceiling (CF-3) antibacterial latex paint semi-gloss finished

	3,678.77		sqm		Surface preparation/Repair for existing wall (interior)
	3,678.77		sqm		Repainting of existing wall (interior) in odor-less antibacterial
				latex paint, semi-gloss finished

	202.46		sqm		Surface preparation for comfort room existing wall (interior)			PhP
	202.46		sqm		Repainting of existing comfort room wall (interior) in			PhP
				odor-less antibacterial latex paint, semi-gloss finished
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	Specialty Works
	119.70		lm		Fabrication of Perimeter Fence & Wall Garden	PhP		PhP
				10mm thk square bar, welded and painted finish
				1" x 1" x 1/16" thk angle bar, welded and painted finish
				Steel Mesh, welded and painted finish
				2" GI Pipe, welded and painted finish
				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

	1.00		set(s)		Fabrication and installation of handrail @ PWD comfort room	PhP		PhP
	17.00		set(s)		Comfort Rooms Signages
	1.00		lot		Roofing System for Camp Staff Area
	1.00		set(s)		Supply and installation of 0.80 m dia. UPM Logo 3D Fiber glass
				Sub-Direct Cost			PhP

	Restoration Works

	1,099.27		sqm		Repair/Repainting of existing roof sheet and gutter.	PhP		PhP

	1.00		lot		Repair/Repainting of existing fire escape ladder & stair way

	71.00		set(s)		Rehabilitation of existing single flush/solid door including
				replacement of the following:
				Hinges: 4 pcs/panel S/S 4.5" x 4" x 3.5 mm thk. Butterfly ballbearing hinges
				Handles: 2 pcs/panel Stainless pull handles w/ plate (front)
				Lockset: Lock cylinder (one side cylinder & one side knob)
				Door closer: Surface mounted door closer (60kg-weight capacity)ISO9002
				Finish: Duco Painted finish

	19.00		set(s)		Rehabilitation of existing windows including replacement of
				broken handles, glass panels and repainting of window frame.
				Sub-Direct Cost			PhP

3.09	Furniture

	All UP Academic Employees Union, Second Floor, UPM Annex Bldg.

	3.00		set(s)		Staff Table (L-Shaped)	PhP		PhP
				Staff no. 1,2 & 3
				Size: 1.50 M/0.60 M (L) x 1.50 M/0.60 M (W) x 0.75 M (H)
				Worktop:25mm thick MFC woodgrain worktop
				C/W 2mm PVC matching edging
				Panel: 18mm frameless fabric panel 0.45 M
				Upholstery: In new icon fabric
				Leg: Mild steel legs and structure in epoxy finish
				Metal part in epoxy finish
				1 set keyboard tray for each user

	3.00		set(s)		Metal high mobile pedestal
				Size: 0.30 M (L) x 0.50 M (W) x 0.64 M (H)
				2 drawers + 1 filing for each user

	1.00		set(s)		Conference Table
				Size: 2.10 M (L) x 1.50 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Leg: Mild steel curve legs and frame
				Metal part in epoxy finish
				2 set metal trunking box 4 gang
				1 set large wire management box and 4 set wire tray
				Underneath the worktop

	8.00		pc(s)		Conference Chair
				Seat: Fixed
				Arm: Fixed die cast aluminum armrest in chrome finish
				Base: Die cast aluminum cantilever base in chrome finish
				Upholstery: Nylon mesh

	3.00		pc(s)		Staff Chairs
				Arm: Height adjustable
				Base: Nylon base with castor in black finish
				Mechanism: Single lock, synchronize, fix seat
				Upholstery: Backrest in black mesh & seat in black PVC finish

	Office of Students Affairs, Third Floor, UPM Annex Bldg.

	4.00		set(s)		Staff Table-1 (L-Shaped)
				Staff no. 12,13,14 & 15 (Guidance Counselor)
				Size: 1.50 M/0.60 M (L) x 1.50 M/0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm thick frameless fabric panel 0.45 M (H)
				Upholstery: In new icon fabric
				Leg: Mild steel legs
				Metal modesty panel 0.45 M (H)
				Metal part in epoxy finish
				1 set keyboard tray for each user

	4.00		pc(s)		Metal high mobile pedestal
				Size: 0.30 M (L) x 0.50 M (W) x 0.64 M (H)
				2 drawers + 1 filing for each user

	8.00		set(s)		Staff Table-2 (L-Shaped)
				Staff no. 3,4,5,6,7,8,9 & 10
				Size: 1.50 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm frameless fabric panel 0.45 M (H)
				Upholstery: In new icon fabric
				Leg: Mild steel legs and structure in epoxy finish
				Metal part in epoxy finish
				1 set keyboard tray for each user

	8.00		set(s)		Metal high mobile pedestal
				2 Drawers + 1 Filing
				1 set hanging swing door cabinet for each user

	9.00		set(s)		Staff Table-3
				Staff no. 16, 17, 18, 19, 20, 21 & Students' Den
				Size: 1.00 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm frameless fabric panel 0.45 M (H)
				Upholstery: In new icon fabric
				Leg: Mild steel legs and structure in epoxy finish
				Metal part in epoxy finish
				1 set keyboard tray for each user

	9.00		pc(s)		Metal high mobile pedestal
				2 Drawers + 1 Filing
				1 set hanging swing door cabinet for each user

	1.00		set(s)		Administrative Office Table (L-Shaped)
				Staff no. 12
				Size: 1.50 M /0.60 M (L) x 1.20 M /0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Modesty: Perforated metal panel 1.50 M (L) x 0.45 M (H)
				1 set keyboard tray

	1.00		pc(s)		Metal high mobile pedestal
				2 Drawers + 1 Filing
				1 set hanging swing door cabinet for each user

	1.00		set(s)		Executive Table
				Director's Room
				Size: 1.80 M (L) x 0.80 M (W) x 0.75 M (H) Main desk
				Size: 1.80 M (L) x 0.50 M (W) x 0.60 M (H) Side cabinet
				HPL woodgrain flat edge side panel 0.715
				HPL woodgrain modesty 0.45 M (H)
				HPL side cabinet 1.80 M (L) x 0.50 M (W) x 0.60 M (H)

	1.00		set(s)		Conference Table
				Conference Room
				Size: 4.00 (L) x 1.20 (W) x 0.75 (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Legs: Mild steel curve legs and frame
				Metal part in epoxy finish
				2 sets metal trunking box 4 gang
				1 large wire management box and wire tray
				Underneath the worktop

	1.00		set(s)		Writing Table (5 Pcs./Set)
				Testing Room
				Size: 1.20 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Leg: Mild steel legs and structure in epoxy finish

	1.00		set(s)		Pantry Table
				Pantry
				Size: 1.50 M (L) x 0.75 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Leg: Mild steel legs and structure in epoxy finish

	1.00		pc(s)		Meeting table
				Director's Room
				1.00 M (D) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				in High Pressure Laminated (HPL)
				worktop C/W 2mm PVC matching edging
				Leg: Mild steel legs and leg stabilizer

	1.00		set(s)		Information Counter (L-Shaped)
				Reception Counter
				Size: 1.50/0.60 (L) x 1.50/0.50 (W) x 1.10/0.75 (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 80 mm thk x 1.10 M (H)
				Top tile: In new icon fabric
				Bottom tile: In new icon fabric
				Leg: Mild steel legs and structure in epoxy finish
				Metal perforated modesty panel 0.45 M (H)
				Metal part in epoxy finish
				1 set keyboard tray

	1.00		pc(s)		Metal high mobile pedestal
				2 Drawers + 1 Filing
				1 set hanging swing door cabinet for each user

	1.00		pc(s)		Executive Table
				Chief's Room
				Size: 1.80 M (L) x 0.80 M (W) x 0.75 M (H) Main desk
				Size: 1.20 M (L) x 0.45 M (W) x 0.72 M (H) Side cabinet
				Steel Frame W/ MFC W/ Side Cabinet / MPD

	23.00		pc(s)		Staff Chairs
				Arm: Height adjustable
				Base: Nylon base with castor in black finish
				Mechanism: Single lock, synchronize, fix seat
				Upholstery: Backrest in black mesh & seat in black PVC finish

	10.00		pc(s)		Student Chairs
				Arm: Height adjustable
				Base: Nylon base with castor in black finish
				Mechanism: Single lock, synchronize, fix seat
				Upholstery: Backrest in black mesh & seat in black PVC finish

	14.00		pc(s)		Conference Chair
				Seat: Fixed
				Arm: Fixed die cast aluminum armrest in chrome finish
				Base: Die cast aluminum cantilever base in chrome finish
				Upholstery: Nylon mesh

	10.00		pc(s)		Visitor Chair
				Seat: Fixed
				Arm: Height adjustable armrest
				Base: Normal cantilever base in chrome finish
				Upholstery: Backrest in black mesh & seat in black PVC finish

	6.00		pc(s)		Pantry Chair
				Pantry
				Sled type, Stackable chrome base

	1.00		pc(s)		3 Seater Sofa
				Seat: Seat cushion with spring in PU moulded
				Arm: PU moulded fixed arm
				Frame: Stainless steel frame
				Upholstery: Single line stitching in black bovine leather

	NTTC-HP, Third floor, UPM Main Bldg.

	1.00		set(s)		Staff Table-1 with hanging cabinet
				Room 3
				Size: 1.20 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm thick frameless fabric panel 0.45 M (H)
				Legs: Mild steel legs and structure in epoxy finish
				Upholstery: In new icon fabric
				Metal part in epoxy finish
				1 set keyboard tray for each user
				1 set hanging swing door cabinet for each user

	1.00		pc(s)		Metal high mobile pedestal
				Size: 0.30 M (L) x 0.50 M (W) x 0.64 M (H)
				2 drawers + 1 filing for each user

	3.00		pc(s)		Staff Table-2 (L-Shaped)
				Staff no. 1,2 & 3
				Size: 1.50 M /0.60 M (L) x 1.50 M /0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm thick frameless fabric panel 0.45 M (H)
				Leg: Mild steel legs
				Upholstery: In new icon fabric
				Metal part in epoxy finish
				Metal modesty panel 0.45 M (H)
				1 set keyboard tray for each user

	3.00		pc(s)		Metal high mobile pedestal
				Size: 0.30 M (L) x 0.50 M (W) x 0.64 M (H)
				2 drawers + 1 filing for each user

	3.00		set(s)		Computer table
				Room 1 & 2
				Size: 1.00 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm frameless fabric panel 0.45 M (H)
				Legs: Mild steel legs and structure in epoxy finish
				Upholstery: In new icon fabric
				Metal part in epoxy finish
				1 set keyboard tray for each user

	3.00		pc(s)		Metal high mobile pedestal
				Size: 0.30 M (L) x 0.50 M (W) x 0.64 M (H)
				2 drawers + 1 filing for each user

	3.00		set(s)		Writing Table (5 pcs/set)
				Room 1,2 & 3
				Size: 1.20 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Legs: Mild steel legs and structure in epoxy finish

	4.00		pc(s)		Staff Chairs
				Arm: Height adjustable
				Base: Nylon base with castor in black finish
				Mechanism: Single lock, synchronize, fix seat
				Upholstery: Backrest in black mesh & seat in black PVC finish

	33.00		pc(s)		Student Chairs
				Arm: Height adjustable
				Base: Nylon base with castor in black finish
				Mechanism: Single lock, synchronize, fix seat
				Upholstery: Backrest in black mesh & seat in black PVC finish

	1.00		pc(s)		3 Seater Sofa
				Seat: Seat cushion with spring in PU moulded
				Arm: PU moulded fixed arm
				Frame: Stainless steel frame
				Upholstery: Single line stitching in black bovine leather

	1.00		set(s)		Operable Wall Partition
				60mm thk @ 990mm (min.) Up to 1200mm (max.)
				In panel width 2.5mm thk x 60mm aluminium profile in silver
				satin anodized/ powder coated fin 38mm for top and
				76mm for bottom in silver satin anodized/powder coated
				fin 4-wheeled heavy duty roller assembly for every panel
				capable of any angle high density rockwool insulation
				using 2pcf x 50mm thk 3mm thk x 60mm x 80mm glider steel
				track type, painted in black color quick setting pressure type
				retractable top and bottom seal for superior acoustical
				performance seal-off the gap between the wall and the last
				panel to prevent sound leak. 32-35stc deluxe type.

	1.00		set(s)		Information Counter-1 (L-Shaped) with mobile pedestal
				Information Counter, Lobby
				Size: 2.40m/0.60m(L) x 1.50m/0.50m(W) x 1.10m/0.75m(H)
				Worktop: 25 mm thick MFC woodgrain worktop C/W 2mm PVC matching edge
				Panel: 80 mm thick x 1.10m (H)
				Top tile: In new icon fabric
				Leg: Mild steel legs and structure in epoxy finished
				Metal perforated modesty panel 0.45 m (H)
				Metal part in epoxy finished
				1 set keyboard tray

	1.00		pc(s)		Metal high mobile pedestal
				Size: 0.30m(L) x 0.50m (W) x 0.64m(H)
				2 drawers = 1 filling for each user

	Property & Supply Office, Ground floor, UPM Main Bldg.

	10.00		set(s)		Staff Table-2 (L-Shaped)
				Staff no. 1, 2, 3,4,5,6,7,8,9 & 10
				Size: 1.50 M (L) x 0.60 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Panel: 18mm frameless fabric panel 0.45 M (H)
				Upholstery: In new icon fabric
				Leg: Mild steel legs and structure in epoxy finish
				Metal part in epoxy finish
				1 set keyboard tray for each user

	10.00		pc(s)		Metal high mobile pedestal
				Size: 0.30 M (L) x 0.50 M (W) x 0.64 M (H)
				2 drawers + 1 filing for each user

	1.00		set(s)		Executive Table
				Chief's Room
				Size: 1.80 M (L) x 0.80 M (W) x 0.75 M (H) Main desk
				Size: 1.20 M (L) x 0.45 M (W) x 0.72 M (H) Side cabinet
				Steel Frame W/ MFC W/ Side Cabinet / MPD

	1.00		set(s)		Pantry Table
				Pantry
				Size: 1.50 M (L) x 0.75 M (W) x 0.75 M (H)
				Worktop: 25mm thick MFC woodgrain
				worktop C/W 2mm PVC matching edging
				Leg: Mild steel legs and structure in epoxy finish

	10.00		pc(s)		Staff Chairs
				Arm: Height adjustable
				Base: Nylon base with castor in black finish
				Mechanism: Single lock, synchronize, fix seat

	1.00		pc(s)		Executive Chair
				Headrest: Height adjustable tilting headrest
				Seat: Height adjustable
				Arm: Height/forward adjustable
				Lumbar: Adjustable lumber support
				Base: Crown base in chrome finish
				Mechanism: Single lock, synchronize, fix seat
				Upholstery: Backrest in black mesh & seat in black leather finish

	6.00		pc(s)		Pantry Chair
				Pantry
				Sled type, Stackable chrome base

	12.00		pc(s)		Visitor Chair
				Seat: Fixed
				Arm: Height adjustable armrest
				Base: Normal cantilever base in chrome finish
				Upholstery: Backrest in black mesh & seat in black PVC finish

	1.00		pc(s)		3 Seater Sofa
				Seat: Seat cushion with spring in PU moulded
				Arm: PU moulded fixed arm
				Frame: Stainless steel frame
				Upholstery: Single line stitching in black bovine leather

				Sub-Direct Cost			PhP

				Total for Architectutal Works			PhP		-

4.00	PLUMBING WORKS

	Sanitary
	167.00		pc/s		PVC PIPE 100 X 3m	PhP		PhP
	137.00		pc/s		PVC PIPE 50 X 3m
	120.00		pc/s		PVC ELBOW 100 X 90 DEG.
	120.00		pc/s		PVC ELBOW 100 X 45 DEG.
	235.00		pc/s		PVC ELBOW 50 X 90 DEG.
	235.00		pc/s		PVC ELBOW 50 X 45 DEG.
	62.00		pc/s		PVC TEE 100 X 100
	18.00		pc/s		PVC TEE 100 X 50
	233.00		pc/s		PVC TEE 50 X 50
	91.00		pc/s		PVC WYE 100 X 100
	238.00		pc/s		PVC WYE 100 X 50
	214.00		pc/s		PVC P-TRAP 50mm
	91.00		pc/s		PVC CLEAN OUT 100
	31.00		pc/s		C.I. CLEAN OUT 100
	35.00		can		SOLVENT CEMENT
	12.00		gal		EPOXY A & B
	1.00		lot		chipping works

	Waterline
	70.00		pc/s		PPR PIPE 32 X 4m
	50.00		pc/s		PPR PIPE 25 X 4m
	99.00		pc/s		PPR PIPE 20 X 4m
	8.00		pc/s		PPR ELBOW 63 X 90 DEG
	65.00		pc/s		PPR ELBOW 32 X 90 DEG
	65.00		pc/s		PPR ELBOW 25 X 90 DEG
	145.00		pc/s		PPR ELBOW 20 X 90 DEG
	91.00		pc/s		PPR ELBOW 20 W/ THREAD
	85.00		pc/s		PPR TEE 20 W/ THREAD
	115.00		pc/s		PPR TEE 20 x 20
	40.00		pc/s		PPR TEE 25 x 20
	40.00		pc/s		PPR TEE 32 x 20
	40.00		pc/s		PPR TEE 25 x 25
	40.00		pc/s		PPR TEE 32 x 32
	25.00		pc/s		PPR TEE 32 x 25
	3.00		pc/s		PPR TEE 63 x 63
	76.00		pc/s		PPR MALE ADAPTOR 20
	26.00		pc/s		PPR MALE ADAPTOR 25
	32.00		pc/s		PPR MALE ADAPTOR 32
	10.00		pc/s		PPR MALE ADAPTOR 63 mm
	65.00		pc/s		PPR FEMALE ADAPTOR 20
	15.00		pc/s		GATE VALVE 1"
	35.00		pc/s		GATE VALVE 1/2"
	16.00		pc/s		GATE VALVE 2"
	44.00		pc/s		PPR PIPE 63mm x 4m
	3.00		pc/s		CHECK VALVE 2"
	5.00		pc/s		PPR UNION PATENTE 63 mm
	32.00		pc/s		PPR ELBOW 63mm
	42.00		pc/s		PPR MALE ADAPTOR 63mm
	16.00		pc/s		PPR FEMALE ADAPTOR 63mm
	1.00		lot		chipping works

	Drainage
	150.00		pc/s		PVC PIPE 100mm x 3m
	45.00		pc/s		PVC ELBOW 100mm x 90 DEG
	30.00		sets		MANHOLE
	200.00		cu.m.		EXCAVATION WORKS
	200.00		cu.m.		BACK FILLING
	228.00		cu.m.		RESTORATION WORKS
	30.00		pc/s		C-2 STRAINER 12" x 12"
	263.00		lm		chipping works

	Fixtures
	46.00		set/s		WATERCLOSET
	43.00		set/s		LAVATORY
	9.00		set/s		URINAL
	11.00		set/s		FAUCET
	62.00		set/s		STRAINER 4 x 4
	2.00		set/s		STAINLESS TANK (4,000 Liters Capacity)
	4.00		set/s		KITCHEN SINK
	1.00		lot		hangers & supports
	42.00		pc(s)		6mm thk x 600 mm (W) x 800 mm (H) colored borders mirror,
	1.00		pc(s)		Wall mounted single lever bath filler with telephone shower
	4.00		assy		Construction concrete slop sink complete with hose
				bibb faucet/sanitary fitting, tiles and accessories
				polished and varnished edges complete with mounting accesories
	42.00		assy		Fabrication of counter lavatory on 12mm thk solid surface on
				6 mm thk ficem board and 50 mm x 50 mm x 6mm angular bar, welded
	4.00		assy		Fabrication pantry sink cabinet
				-6 mm thk ficem board and 50 mm x 50 mm x 6mm angular bar, welded
				-19 mm thk mdf laminated cabinet door panel
	2.00		set/s		Centrifugal Pump (5 H.P.)
	1.00		set/s		Magnetic Contactor (for alternate operation)

				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

				TOTAL PLUMBING WORKS			PhP

5.00	ELECTRICAL WORKS

	1.00		rolls		3.5mm² THHN	PhP		PhP
	260.00		lenght(s)		20mmØ PVC conduits complete
	24.00		unit(s)		8"Ø recessed horizontal downlight with 2-e27 7watts
				LED bulb daylight /coolwhite and center frost glass cover
	2.00		unit		Emergency light 2-1.5W LED (22hrs)
	5.00		set(s)		one gang switch with plate
				cover and strap 16A wide series
	1.00		set(s)		two gang switch with plate
				cover and strap 16A wide series
	1.00		set(s)		three gang switch with plate
				cover and strap 16A wide series
	6.00		set(s)		TEFO/ELO - Single universal outlet with plate
				cover grounding 16A wide series
	8.00		set(s)		Duplex Universal outlet with plate cover
				plate grounding 16A wide series
	24.00		pc(s)		Junction box
	6.00		pc(s)		conduit bracket
	2.00		roll(s)		Big Electrical Tape
	1.00		roll(s)		Rubber Tape
	4.00		unit(s)		Toilet Exhaust Fan Ceiling mount 108CFM/23 watts
	4.00		pc(s)		Vent cap stainless
	4.00		box(s)		Flexible aluminum airduct
	1.00		kilo(s)		GI Wire
	1.00		lot		Miscellaneous and consumables

				Material Cost			PhP
				Labor Cost
				Sub-Direct Cost			PhP

				TOTAL ELECTRICAL WORKS			PhP

SUMMARY

1.00	GEN. REQ'Ts. / SITEWORKS					PhP
2.00	CIVIL WORKS
3.00	ARCHITECTURAL WORKS
4.00	PLUMBING WORKS
5.00	ELECTRICAL WORKS

				Total Material and Labor Cost			PhP
				Overhead Cost	@	%
				Tax	@	12%

				TOTAL CONTRACT COST			PhP

PREPARED BY		:
				Signature over Printed Name & Position/Designation				Date