REF. NO.	:

PROJECT TITLE	: 	PROPOSED RENOVATION OF JOAQUIN GONZALEZ - PHASE 2

University of the Philippines Manila

SUBJECT           	:		SCOPE OF WORKS AND SPECIFICATIONS

Division 1 - 	General

01000	General Requirements

- The Contractor shall furnish all materials, equipment, tools, apparatus, appliances, accessories, transportation, labor and supervision required for the complete construction of the subject project, as shown on the drawings and called for in these specifications, ready for use.

- All Contractors submitting proposal for this project shall first examine the site.  All proposals shall take into consideration all such conditions that may affect the work under this contract. The specifications and plans shall form part as one. Anything mentioned on plans and not mentioned on the scope of work and specifications and vice versa shall be properly consulted to the CPDMO Project Architect/Engineer for clarification. Any work or materials not in accordance with the drawings or specifications shall be replaced with new at the Contractor’s expense.

- The Contractor shall coordinate his work with all parties to ensure proper phasing or schedule of works. The Contractor shall engage under him, a registered Engineer or Architect to supervise his work. He shall remain at all times in the construction site.

- A logbook shall be available at the site.  It shall contain the daily activities in the site, including weather condition, delivery, manpower and other matter pertaining to the condition of the project.  It will also serve as data for Contractor and the Project Inspector.

- Identification Card of construction workers and engineer/representative shall be supplied by CPDMO with corresponding fees; it should be worn at all times while inside the building/campus premises.  Those without IDs shall not be allowed to enter the premises for security purposes.

- No alteration or additional work that will result in an additive or deductive cost change from the Contract shall be allowed without the approval of the chancellor.

- Complete specifications with product sample shall be submitted by the contractor to CPDMO and end-user for evaluation.  Inspection of the Project Architect/Engineer in-charge shall be required prior to installation of any item/material on the construction.

- Regular coordination meeting shall be conducted with CPDMO, Contractor and End-user for proper project monitoring.

- Existing condition of the work site shall be documented by the contractor and photos shall be taken before commence of work to ensure such status. Any damage on the areas due to the contractor’s on-going work shall be refurbished at his expense.

- The Contractor shall provide a complete copy of “As built plans” of the project/unit concerned which shall include all the civil, architectural, plumbing, electrical and other related layouts in 20” x 30” original sheets. It should be properly drawn indicating all the specifications, layouts, tables and necessary data.   An initial layout should be submitted in a B4 sheet for checking and approval of Project Architect/Engineer.  Final “As built plans” shall be submitted with soft and hard copies.

- After completion of all works, the Contractor shall promptly remove from the premises all rubbish, trash, debris, and all superfluous building materials and restore all areas that were damaged as affected by the construction works and leave the site clean to the satisfaction of the Project Inspector or his representative and End-user.

- All materials removed from the unit shall be properly documented prior to turn-over to the End-user for proper safe keeping.

01300	Submittals

Shop Drawings, Product Data and Samples

- Submit to the CPDMO of shop drawings, product data and /or samples of all materials for review.

- The CPDMO’s review shall be limited to quality and design intent. It shall be the Contractor’s responsibility to verify quantities and sizes, and make corrections observed and noted by CPDMO on any returned submissions.

- No work requiring submissions or samples shall be commenced until submission has been reviewed by the End User and or CPDMO.

- Final Acceptance of colors and finishes will be made from samples applied on the job.

- Submit on all materials, products, and samples which area required by the work.

- All submittals shall be channeled from General Contractor to CPDMO, Physical Plant A-E Services, and back to the General Contractor. This procedure applies to original submittals as well as required resubmittals. Each organization shall keep its required number of copies and/or make necessary copies from the sepias. The Contractor will make all correction noted on check sets, if necessary, and return for review as required by CPDMO.

01510	Temporary Facilities

- Provide Temporary enclosures/canvass on all areas for building protection. Such coverings shall be adequate enough to cover all the building facilities throughout the span of project.

- Charges for restoration or replacement of any damage facility, equipment, material and the like shall be made on the contractor due to his negligence in providing suitable temporary covering.

- Provide the appropriate scaffoldings, board ups, safety nets and related items to ensure proper installation of all framing system and protection of the area, at the expense of the contractor as its basic equipment.

Division 2 – Site Construction

02200     Site Preparation

Mobilization / Demobilization

- This work includes mobilization process, provision for warning signs, including barricades, temporary facilities, temporary fences, warning lights and similar safeguards shall be provided by the Contractor as they are required for protection of his manpower and others during the construction life of this project.

- Demobilization procedure shall include clearing of the affected areas from all rubbish, trash, debris, and all superfluous building materials and restore all areas that were damaged as affected by the works and leave the site clean to the satisfaction of the Project Inspector or his representative and End-user.

02230     Site Clearing

- Clear the area from all obstructions or as affected by the construction works, except those structures indicated on the drawings or designated by the Project Architect/Engineer to be left standing. It shall be properly protected from incidental damage due to construction works by the erection of suitable barriers upon approval of the Project Architect/Engineer.

02290     Site Monitoring

- Site monitoring shall be a must to the contractor for the effective implementation of the project.  Any discrepancies on plans and actual site conditions shall be properly coordinated with the Project Architect/Engineer concerned for verification.

- Regular coordination meeting shall be done between the contractor or its representative and the Project Architect/Engineer concerned at CPDMO.

02500     Utility Services

Utility Service/Consumption

- Provision of electric and water meter shall be included in the quotation to be charged to the contractor’s overhead. All utility consumption shall be provided with meters to limit the usage of such during working period. Payments of bills shall be made thru the Cashiers Office after the renovation period presenting the statement of account issued by Accounting upon recommendation of the Chief of CPDMO.

Division 3 – Concrete

Section 03050     Basic Materials & Methods

•	The work to which this refers includes all operations necessary for the supply and delivery of all materials, labor, equipment and all associated activities. This shall conform in the recommendations of the “National Structural Code for Buildings” published by the Association of the Structural Engineers of the Philippines, together with the latest editions including all revisions of the following standards:

    - ASTM C-31	Method of making and Curing Concrete Compression and   Flexure Test Specimen in the Field.

    - ASTM C-33	Concrete Aggregate

    - ASTM C- 39	Method of the test for Compressive Strength of Molded Concrete Cylinders.

    - ASTM C- 94	Ready Mixed Concrete

    - ASTM C-143	Test of Slump for Portland cement Concrete.

    - ASTM C-140	Portland cement

    - ASTM A-615	Deformed and Plain Steel Bars for Concrete Reinforcement.

Material Requirements:

•	Cement to be used shall be Type I conforming the ASTM C-150.

•	Fine and coarse aggregates shall be obtained from the approved source as determined by DPWH and shall conform to ASTM C-33.

•	Water shall be potable and free from deleterious amounts of acids, alkalis, oils or organic matters.

•	Admixtures shall only be used with the prior written consent to the Resident    Engineer. Admixtures shall not contain calcium chloride. The amount of admixture shall not change the required quantities of cement specified and quantity of admixture used and method of mixing shall be in accordance with the manufacturer’s instruction as the case may be.

•	Reinforcement steel shall be deformed steel bars conforming to Structural Grade (Grade 33) and High Strength (Grade 60) as specified on the structural plans and as specified in Section 5.07 of the National Structural Code for Buildings. Shapes and dimensions shall be in accordance to the above mentioned standards.

Quality of Concrete:

•	The quality of concrete shall comply with Section 5.04 of the National Structural Code of the Buildings and with the specific requirements outlined in the various sections of these specifications

•	Testing of samples from concrete pours shall be as required by Section 5.05 of the National Structural Code of Buildings

•Test of specimen shall be deemed acceptable provided they meet the requirements of Section by 5.04 clauses (e) of the National Structural Code of Buildings

•Should further testing of the finished concrete be necessary due to non-compliance of test specimens, as required by the Resident Engineer, it shall be carried out in accordance with the approved procedures laid down in National Structural Code of Buildings. Section 5.04 clause (e)

• Hardened concrete that is deemed not to comply with the specifications above, but which the Resident Engineer permits to be further tested, shall be tested for compressive strength

•Any concrete will be rejected under the specifications above if the results fail to meet the requirements Section 5.03 of National Structural Code of Buildings

•Hardened concrete may also be rejected for any one of the following conditions:

a.	It is porous, segregated or honeycombed.

b.	Its placing has been so interrupted that there is a construction or similar joint not in accordance with Section 5.03, clause (d) of the National Structural Code of Buildings.

c. The reinforcing steel it incorporates has been displaced.

d. Construction tolerances have not been met.

e. The required surface finish has not been met.

f. The concrete can be shown to be otherwise defective.

- When the above things happened, the Resident Engineer has the option to let the Contractor to demolish the rejected portion.

Scope of Works / Method of Activities

•Concrete shall not be placed until all formworks, installation of reinforcement, embedded parts and the preparation of surfaces have been approved. Prior to concreting, the contractor shall submit a proposed pouring schedule for the various stages of the work. No concrete shall be poured prior to the approval. Subsequently, the contractor shall give the RE twenty four (24) hour notice of his intention to proceed with the stage of the work.

•	All batches of mortar or concrete shall be adjusted as to within the capacity of the mixer. When cement is delivered in bags, the batch shall be so proportioned as to use of only full bag batches.

•	Hand mixing will not be permitted except by written permission from Resident Engineer and only in such manner as he may direct.

•	All mortar and concrete shall be used while fresh and before there is evidence of initial set. No re-tempering of mortar or concrete shall be undertaken.

•	Ready mixed concrete (i.e., off-site transit mixed concrete) shall comply with ASTM C-94 and the requirements herein.

•	Batch deliveries shall not exceed the rated capacity specified for the mixer by its manufacturer. The Contractor shall submit affidavits for the approval of the Resident Engineer from the ready mix concrete suppliers, certifying that the proposed mix to be supplied shall satisfy the requirements of this specification.

•	All concrete shall be ready mixed unless approved otherwise by the Resident Engineer in writing. Concrete not ready mixed shall comply with the National Structural Code for Buildings.

•	The surfaces of measuring, mixing, and transporting equipment that will be in contact with concrete shall be clean at the commencement of the mixing operation.

•	The accuracy of weighing equipment and the accuracy of batching shall comply with the applicable requirements of ASTM C-94 and its reference standards. The materials shall be as measured as to give the required mixed proportions.

•	Cements and aggregates shall be measured by weighing or any method approved by the Resident Engineer.

•	The device employed to measure and discharge the amount of water for the mixture shall be capable of adjustment and checking.

•	Water carried by aggregate, in excess of those giving saturated surface-dry conditions shall be considered as part of the required mixing water.

•	Mixing shall be done in mixer of approved type.

•	Concrete shall be mixed until the material are uniformly distributed and shall be discharged completely before the mixer is recharged.

•	The time of mixing shall not be less than one and one half (1 ½) minutes after all ingredients are in the mixer, unless it is shown that the uniformity requirements of the appropriate reference standards are met by an alternative time that shall be agreed to by the Resident Engineer and confirmed in writing.

•	No concrete shall be placed until the depth and character of the foundation materials, the forms and false work and the placement of the steel reinforcement had been inspected and approved by the Resident Engineer. Before depositing concrete, all debris, foreign matter, dirt and water shall be removed from the forms, and the surface of any concrete previously placed shall be cleaned and brushed with cement paste.

•	No concrete shall be placed on filled ground until the Resident Engineer has approved the standard of compaction of the sub-grade.

•	All concrete shall be placed in daylight or under such lighting condition that may be approved by the Resident Engineer.

•	The method and manner of placing concrete shall be such as to avoid the possibility to segregation of the concrete materials or the displacements of the reinforcement. Where troughs or chutes are used in placing concretes, their angle of inclination with respect to the horizontal shall not exceed thirty (30) degrees. When a pipe is used, it shall be kept full of concrete with its discharged and submerged.

•	Concrete shall not be allowed to drop into place from a height exceeding one (1) meter.

•	The placing of concrete shall be evenly regulated to avoid the depositing of a large quantity at any one point. Concrete in horizontal layers shall be deposited as near practicable to its final position in the forms.

•	Concrete shall be deposited in a continuous operation as far as it is practicable to do so and shall avoid initial set starting in any part of the work before fresh concrete can be placed against it.

•	Compaction of concrete shall be by approved immersion type vibrators. Vibration shall be limited to the time necessary to produce thorough compaction of the concrete without segregation. Under no circumstances shall vibrators be used to move concrete laterally, nor shall it be allowed to penetrate concrete in the prior lift.

•	During placing and until curing as specified is completed all new concrete shall be protected against the harmful effects of exposure to the elements and to running water either as specified or as directed by the Resident Engineer.

•	When concrete hardens sufficiently it shall be covered with damp, close-woven burlap or similar material, or clean sand, which shall be kept thoroughly saturated over a period of ten to fourteen days. Where wood forms are used they shall be kept wet for the same period to prevent openings at the joints and drying out of the concrete.

•	Precautions shall be taken to avoid premature stiffening of the fresh mix and to reduce water absorption and evaporation losses.

•	If the temperature of the surrounding air is higher than 32 C, the following shall be applied unless otherwise documented by the Resident Engineer.

•	The formwork shall be continually sprayed with cold water in advance of the concreting and excess water shall be removed from the inside of the forms immediately prior to the placement of concrete.

•	The reinforcement and the formwork if metal forms are used shall be protected from the effects of hot winds and direct sunlight.

•	Suitable barriers shall be provided to protect the freshly placed concrete from wind, until the concrete is hardened sufficiently to allow it to be covered,

•	The concrete shall be held to a temperature of 32 C when being poured.

•	The concrete shall be mixed, transported, placed and compacted as rapidly as   possible and shall be then covered with an impervious membrane and shall kept wet for curing.

Finishing In Concrete

•	 Allowable deviations from plumb or level and from the alignment, profile grades and dimensions shown on the drawings are defined as “tolerances” and are to be distinguished from irregularities in finish. Surface irregularities are classified as abrupt or gradual. Off-sets caused by displaced or misplaced from sheeting, from lining, form section, loose knots or otherwise defective form timber will be considered as abrupt irregularities and will be tested either by a straight edge or its equivalent for curved surfaces.

•	Immediately after removal of forms all pins and loose materials shall be removed. “Honey-combing” aggregate pockets, voids and holes shall be cut back to solid concrete. All repair of imperfection in concrete shall be completed within twenty-four (24) hours after removal of forms.

•	Dry pack concrete shall be used for filling holes having at least one surface dimension, little if any, greater than the hole depth and for narrow slots out for repair or cracks.

•	Mortar filling shall be used for repairing defects which are too wide for dry pack filling, too shallow for concrete filling and too deeper than the far side of the reinforcement that is nearest to the surface.

•	Concrete filling shall be used for holes extending entirely through concrete sections for holes that are greater in area than 0.1 square meters and deeper than 100 mm and for holes in reinforced concrete which are greater in area than 0.1 square meter and which extend beyond the reinforcement.

•	Surfaces of work carried out in accordance with this specification above shall be prepared by thoroughly roughening and cleaning so that all loose or soft material, free water, foreign matter and laitance are removed. At the time of placement of the fresh concrete, the joint surfaces of the hardened concrete shall be damped but there shall be no water.

Section 03100     Concrete Forms and Accessories

•	The Contractor shall be responsible for the design, erection and adjustment of all formwork and false work in accordance with Section 5.06, “National Structural Code for Buildings”.

•	All materials used in construction and support of formwork shall be of timber. Alternative materials shall only be used with the Resident Engineer’s approval.

•	It shall be the Contractor’s responsibility to ensure that the forms are placed to the shape, lines and dimensions as indicated on the drawings, and they shall have sufficient strength to withstand the pressure resulting from placement and vibration of the concrete. The Contractor shall ensure that the forms are maintained rigidly in position and be sufficiently tight to prevent excessive leakage of mortar.

•	All debris particularly chipping, shavings and sawdust, shall be removed from the interior of the forms before the concrete is placed. All form surfaces shall be cleaned and thoroughly wetted before pouring of concrete.

•	Before the placement of any concrete, the Resident Engineer shall inspect the formwork and may, at his discretion, reject any materials or forms that do not conform to this specification.

•	The deflection of forms between joints and/or studs shall not exceed one five-hundredth (1/500) of the joints or stud spacing.

•	The recommended minimum stripping for horizontal slabs shall be twenty-four (24) hours after the approval of the Resident Engineer prior to the removal of any forms.

Section 03200     Concrete Reinforcement

•	All steel bars to be used during construction should be in accordance with the guidelines of National Structural Code for Buildings.

•	The support and tolerance in placing of reinforcement shall comply with section 5.07 of National Structural Code of Buildings.

•	Lap splicing and or welding of reinforcement shall comply with section 5.07 “National Structural Code of Buildings”.

•	Welding of reinforcement shall not be carried out unless shown on the drawings, specified, or otherwise approved by the Resident Engineer.

•	Welding if approved shall not be carried out within 75mm of a bend having internal diameters, or any part of a bar that has been bent in reverse direction or straighten.

•	All reinforcing bars shall be high tensile strength (Grade 60) except and ground floor slab rebars which shall be structural grade (grade 33).

•	Prior to installation of ground floor rebars, 0.3mm thick polyethylene plastic shall be laid above gravel base after application of soil poisoning.

Division 4 – Masonry

04000 	Masonry

Scope of Work

- The work covered by this Item shall consist of furnishing all concrete reinforcement requirements in accordance with Plan and/or standard detail and as herein specified.

Material Requirements

- Use Portland cement which conforms to the requirements of ASTM C-150 Type for normal Portland cement.

- Use fine aggregates which shall be free from injurious amount of clay loam and deleterious materials and shall conform to ASTM C-33 or C-330.

- Concrete hollow blocks, 4”, shall be standard manufacture, machine vibrated, and shall have fine and even texture, and well defined edges.  Mortar, filler and plastering shall be Class “A” mixture.

- Deformed steel bars shall conform to ASTM A-305.  It shall be clean and free from loose, rust, scales and any coatings that will reduce bond.

- #16 tie wire shall be used for reinforcing bars connections.

Construction Requirements

- Provide CHB wall with 10 mm dia. deformed round bars at 0.60 m on centers both ways. Verify actual location.

- All cells shall be solidly filled with grout.

- Concrete mixture shall be class “A”.

- Provide the plastering at 16 mm thick using class “A” mixture.

- Follow plan for details.

Division 5 – Metal and Steel

Section 05500 Metal Fabrication

Construction Requirements

Fabrications

- Welding, shearing, gas cutting, chipping and all other works involved in the fabrication of metal shall be done with accuracy and of the highest quality of workmanship, within the allowable tolerance prescribed in the AISC specifications.

Welding

- The technique, appearance and quality of welds and the method of correcting defective work shall conform to the applicable provisions of “Workmanship of the Standard Code for Welding in Building Construction of the American Welding Society.”

- Surfaces to be welded shall be free from loose side, rust, grease, paint and other foreign materials that will impair the soundness of the weld.

- Temporary weld and assembly attachments shall be kept to a minimum. All temporary attachment that are welded, shall be removed by a flame torch above the parent metal surface and ground to smooth surface by power grinding.

- Note shall be made on the Plans and on the shop drawings of those joints or groups of joints in which it is especially important for the welding sequence and technique of welding to be controlled carefully, to minimize welding under restraint, and to avoid undue distortion.

- Weld length called on the Plans and on the shop drawings shall be the net effective length.

Division 6 – Wood

06100     Rough Carpentry

Scaffoldings

- Provide sample for approval. Appropriate scaffoldings and related framing system shall be the contractor’s account.

Section 06200     Finish Carpentry

Description

- Work of this Section, as shown or specified, shall be provided by the Interior Contractor and shall be in accordance with the requirements of the Contract Documents and in accordance with the General Conditions of this Document.

- Works include coordination, Fabrication ,and Installation of all Interior Exposed wood members shown on drawings and specified herein, including but not necessarily limited to the following:

  - Moldings

  - Standing and running Trims

  - Wood Shelving

  - Fabricated Cabinets and Counters

  - Miscellaneous Items

Submittals

- All Submittals shall be made according to Section 1300 and as described herein.

- Submit all the following for each item of Finish Carpentry:

  - Shop Drawings, indicating fabrication and installation methods, to include plans and elevations at not less than (1:20) scale and details at not less than 1'-0" (1:5) scale.  Indicate required anchorage and blocking, accessory items, field dimensions, materials and finishes.  Indicate compliance with specification requirements.  Indicate weight of any materials or systems to be suspended or which require support from structure.

  - Manufacturer’s Product Data for all specialty items not manufactured by the carpentry fabricator

  - Where required by the End user or Consultant the contractor shall provide full size mock-up of panel  or wood assembly

  - Contractor shall submit to the Consultant three samples 20" (500m) minimum length of all mouldings or moulding assemblies to be used for the Project.  These shall be full size and finished as specified in the Contract Documents.

Quality Assurance

- All work of this Section shall be performed by skilled mechanics of the trade and shall be of the highest quality.  Comply with applicable Industry Standards for all work and materials as specified. Such Industry Standards are to include but not be limited to the applicable provisions or standards of the following:

  - American Society for Testing and Materials (ASTM)

  - PNS 196:2000

- The Contractor shall be responsible for obtaining and complying with all code and regulatory agency requirements for materials and methods.

- The Interior Contractor shall be responsible for accurately obtaining all field dimensions related to his work prior to fabrication.  Where discrepancies are found, he shall notify the Consultant immediately in writing.

- All Finish Carpentry materials shall be stored in a dry ventilated place, protected from the weather and complying with the temperature and humidity.

- Protect sanded and finished surfaces from soiling and damages during handling and installation.

Products

- All woodwork materials shall be new and conform to premium grade requirements

- All solid wood elements shall be clear, straight-grain lumber of the best grade of specified species. Lumber shall be free of any defects which might impair serviceability, aesthetics, and/or finish.  Solid wood elements shall also be according to the following, unless indicated otherwise on drawings and/or specifications.

Hardware and Accessories

- All required hardware and accessories shall be furnished and installed by Interior Contractor and shall be as indicated on drawings and specifications. Where specific products are not specified in the Contract Documents the Interior Contractor shall recommend hardware to provide the function or condition indicated in the Contract Documents. Hinges, screws, clips and other mounting, attachments or fasteners to be concealed unless otherwise noted on drawings.

- Contractor shall submit samples of each hardware item/type and accessory item/type to CPDMO for approval according to Section 01300.

- All Finish Carpentry hardware and accessories shall be installed in accordance with manufacturer’s recommendations.

Other Materials

- Interior Contractor shall be responsible for providing and

Installing all items and materials as indicated on drawings and specifications comprising all or part of the Finish Carpentry shown.  Such items and materials shall be fabricated and/or installed according to manufacturer's recommendations and comply with applicable AWI Quality Standards and

Industry Standards.

- All paint and other finish material shall be pure, unadulterated and best quality from specified manufacturer as indicated on the drawings and specifications.

- All finish materials shall be flame retardant or treated with flame-retardant process where required by local-code. Should flame-retardant process cause change in colour and effect on finish material, the contractor shall notify the CPDMO.

- All transparent finishes shall be alcohol, water and burn resistant.

Execution

- The Contractor shall be responsible for examination of the substrate and the conditions under which the work under this section is to be performed, and notify CPDMO in writing of unsatisfactory conditions.  Do not proceed with the work under this section until unsatisfactory conditions have been corrected.

Fabrication

- All the work be performed in such manner as to fulfil the intent of the drawings and specifications.

- Where necessary to fit at site provide ample allowance for cutting and fitting.  Sufficient additional material shall be allowed to permit accurate scribing to walls, floors and related work; and due allowance made wherever possible for such shrinkage as may develop after installation.  All single and sectional units shall be provided with adequate cleating, blocking, crating and other forms of protection as required to preclude damages thereto during shipping and handling and installation.

- Plastic Laminate edges shall be square, self-edged, or post formed as indicated on drawings.  Metal trim is not acceptable.  Edges shall be neatly bevelled, joints shall be minimized in quantity and be made to a smooth hairline and puttied.  Appearance of unsightly or excessive joints will be cause for rejection.

Installation

- Installation at the Project shall be by skilled mechanics supervised by the Interior Contractor in accordance with accepted standards.

- Install all Finish Carpentry straight, plumb, level and in true alignment except where otherwise indicated. Fit all joints closely and fasten all pieces rigidly in place.  Nails shall be finish or casing nails.  Countersink nail heads and leave ready for putty.  Joints shall be neatly matched and mitered.  Fill exposed joints prior to joining.

  - Finished size shall be indicated on the drawings

  - Surfaces shall be left free from hammer marks, free from warp, twist , open or other defects and shall be cleaned, scraped and sanded ready for finishing.

Cleaning and Protection

- Clean shop finished work, touch-up finish as required and remove and refinish damaged or soiled areas of finish.

- Protect installed Finish Carpentry from damage by work of others trades until End-user’s acceptance of the work.

Division 7 – Thermal and Moisture Protection

07100     Waterproofing System

Scope of Work

- The work covered by this item shall consist of application of waterproofing in accordance with Plan and/or shop drawings and as herein specified.

Material Requirement

- Use hot-processed asphalt membrane waterproofing materials on concrete ledges, walls and slab and related areas of the building and other concrete surfaces as necessary.

Application

- Surfaces to which waterproofing membrane are to be applied shall be free from foreign matter, clean and smooth, dry and free from holes and projections. The concrete contractor shall perform surface preparations. Immediately before application of waterproofing membrane, surfaces shall be cleaned. Application will not be permitted in wet weather.

- The Contractor shall submit to the Project Architect/Engineer samples of materials to be used for approval before any work shall start. Waterproofing materials shall be delivered to the site in the original sealed containers or packages bearing manufacturer’s name and brand designation.

- Waterproofing should be applied on wall base at least 300 mm height and/or higher. Only qualified Contractor trained and approved by the manufacturer shall perform all works under this Section.

- Provide additional coating or application as per recommendation to consolidate the substrate.

- Confer on manufacturer’s specifications and details before applications and upon verifications with CPDMO Project Architect/Engineer and End-users.

- Follow manufacturer’s specifications and allow only the skilled manpower to apply the necessary materials.

- Flood testing should be done at a minimum of twenty-four (24) hours.

- Warranty period on product and application should be at minimum of one (1) years.

- All works to be done should be inspected and approved by the

Project Architect/Engineer and End-users.

07700     Roof Specialties and Accessories

Scope of Work

- This Item shall consist of fabrication, repairing and repainting of roof including labor, tools, equipment and the satisfactory performance in undertaking the proper installation of the roofing system as shown on the Plans and in accordance with this specifications.

Construction Requirements

- Provide all the necessary preparation for the work including all the materials, access to the roof, and all safety measures and equipment (safety harness, net, etc.).

- Safety engineer/ officer must be present when working on the roof.

- Restore all affected areas.

Division 8 – Doors and Windows

08000     Doors and Windows / Glass Structure

Doors

Scope of Work

- The work covered by this Item shall consists of furnishing all fabricated door and jambs, equipped with fixing accessories and locking devices in accordance with Plan and/or shop drawings and as herein specified.

Material Requirement

- Double swing type door– D1

  - Galvanized Sheet Panel: Ga. #18 thk; Jamb: Ga.#16 thk; complete with panic device, stainless butterfly ball bearing hinges, honeycomb insulation, Lock Cylinder (1 side Cylinder & AMP, (1 side knob), and door closer powder coated finish.

  - Dim: 1.60m(W) x 2.10m(H)

  - Follow plan for details and location of doors.

- Single panel steel flush swing type door– D2

  - Galvanized Sheet Panel: Ga. #18 thk; Jamb: Ga.#16 thk; complete with panic device, stainless butterfly ball bearing hinges, honeycomb insulation, Lock Cylinder (1 side Cylinder & AMP, (1 side knob), and door closer powder coated finish.

  - Dim: 1.00m(W) x 2.10m(H)

  - Follow plan for details and location of doors.

- Single panel fire rated steel flush swing type door– D3

  - Galvanized Sheet Panel: Ga.#18 thk; Jamb: Ga.#16 thk; complete with panic device, stainless butterfly ball bearing hinges, honeycomb insulation, fire rated BS476, Part 22 (4hrs) and door closer powder coated finish.

  - Dim: 1.00m(W) x 2.10m(H)

  - Follow plan for details and location of doors.

- Single panel steel flush swing type door– D4

  - Galvanized Sheet Panel: Ga. #18 thk; Jamb: Ga. #16 thk; complete with panic device, stainless butterfly ball bearing hinges, honeycomb insulation, Lock Cylinder (1 side Cylinder & AMP, (1 side knob), and door closer powder coated finish.

  - Dim: 0.70m(W) x 2.10m(H)

  - Follow plan for details and location of doors.

- Operable Wall Partition – D5

- 60mm thk @ 990mm (min.) Up to 1200mm (max.) In panel width 2.5mm thk x 60mm aluminium profile in silver satin anodized/ powder coated fin 38mm for top and 76mm for bottom in silver satin anodized/powder coated fin 4-wheeled heavy duty roller assembly for every panel capable of any angle high density rockwool insulation using 2pcf x 50mm thk 3mm thk x 60mm x 80mm glider steel track type, painted in black color quick setting pressure type retractable top and bottom seal for superior acoustical performance seal-off the gap between the wall and the last panel to prevent sound leak. 32-35stc deluxe type.

- Dim: 2.62 (W) x 2.10 m (H)

- Follow plan for details and location of doors.

- Double Sliding Steel Grilles Gate – D6

  - Heavy Duty Wheel Fix Roller & Door Track lock Plate, Secured with Locking Mechanism, Epoxy Primer (Gray)/Duco Paint Finished

  - Dim: 2.50m(W) x 2.70m(H)

  - Follow plan for details and location of doors.

- Double frame panel glass swing type door – D7

- 12mm thk tempered clear glass with 8 mil security film on aluminum poweder coated frame, 3M diffuser film and 3M sticker UPM logo to match pantone, 36 mm dia. stainless steel foor handles, lockset and accessories.

  - Dim: 1.80m(W) x 2.10m(H)

  - Follow plan for details and location of doors.

Windows / Glass Structure

Scope of Work

- The work covered by this Item shall consists of furnishing all fabricated windows, including materials, labor, tools and equipment required in undertaking the proper installation as shown on the Plans and in accordance with this Specifications.

Material Requirement

- Casement w/ transom– W1, W2, W3, W4, W5, W6, W7, W8, W9, W11, W12, W13, W14, W15, & W16

- 6mm thk tempered clear glass w/ 8 mil security film on aluminum powder coated frame, 3M diffuser film to match pantone complete accessories and installation. Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal).

- Follow plan for details and schedule of windows.

- Verify from Project Architect/Engineer and End-user the color scheme to be used for window frames.

- Casement Fix Type Window–W10

- 6mm thk tempered clear glass on aluminum powder coated window frame. Complete with accessories and installation.

- Follow plan for details and schedule of windows.

- Verify from Project Architect/Engineer and End-user the color scheme to be used for window frames.

- Awning Window – W17

- 6mm thk tempered clear glass on aluminum powder coated window frame. Complete with accessories and installation. Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal).

- Follow plan for details and schedule of windows.

- Verify from Project Architect/Engineer and End-user the color scheme to be used for window frames.

- Casement Type Window–W18

- 6mm thk tempered clear glass on aluminum powder coated window frame. Complete with accessories and installation. Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal).

- Follow plan for details and schedule of windows.

- Verify from Project Architect/Engineer and End-user the color scheme to be used for window frames.

- Sliding Window– W19 & W20

- 6mm thk tempered clear glass on aluminum powder coated window frame. Complete with accessories and installation. Grilles: 1/4" x 5/16" flat bar (frame) & 3/8" square bar, 6" O.C (horizontal).

- Follow plan for details and schedule of windows.

- Verify from Project Architect/Engineer and End-user the color scheme to be used for window frames.

- Transaction Window– W21

- 6mm thk tempered clear glass w/ 8 mil security film on aluminum powder coated frame, 3M diffuser film and 3M signage sticker to match pantone. Complete accessories and installation fabrication of transaction counter on 12mm thk solid surface on 6mm thk ficem board and 50mm x 50mm x 6 mm angular bar, welded.

- Follow plan for details and schedule of windows.

- Verify from Project Architect/Engineer and End-user the color scheme to be used for window frames.

Division 9 – Finishes

09500     Ceiling

Scope of Work

- The work covered by this Item shall consists of furnishing all ceiling finishes, equipped with fixing accessories in accordance with Plan and/or shop drawings and as herein specified.

Material Requirement

- Use 4.5mm thick Fiber Cement boards with groove on metal furring with fixed hanger support; puttied, sanded and ready to receive paint primer coating.

- Use 4.5mm x 600mm x 600mm fiber cement boards on white powder coated tee runner; puttied, sanded and ready to receive paint primer coating.

- Gauge #12 Hanger rod, adjustable clip, power load, drive pin, 1-1/2” x 1/8” steel angle and accessories. Provide support at a maximum of 1.20 m x 1.20 m spacing both ways.

- Submit sample for approval of design.

Construction Requirements

- Provide all the necessary preparation of ceiling.

- Hanger rod with adjustable clip shall be at 1.00 m maximum interval both ways but provide additional hanger and support on critical areas.

- Provide all the necessary accessories and framing for proper installation.

- Ensure adequate hanger and support to all the utilities on the area.

- Restore all affected areas.

09600     Flooring

Scope of Work

- This Item shall consist of furnishing all floor finishes, labor, tools, equipment and the satisfactory performance in undertaking the proper application of epoxy paint as shown on the Plans and in accordance with this Specifications.

Material Requirement

- Use (FF-01) 300mm x 300mm Vinyl floor tiles, provide warranty certification for anti-stain.

- Use (FF-02) 6"x 36" x 3.0mm Vinyl Floor Planks, unpolished or matte, provide warranty certification for anti-stain.

- Use (FF-03) 600mm x 600mm homogeneous porcelain floor tiles, unpolished or matte, provide warranty certification for anti-stain.

- Use (FF-05) 3.0 mm thick Rolled Vinyl Sheet

- Apply epoxy paint floor finish.

- Provide tile adhesive.

- Apply the necessary tile grout.

- Provide the necessary floor topping to level the floor finish.

- Submit sample and layout of tiles for approval of CPDMO Project Architect/Engineer and End-users.

Construction Requirements

For Ceramic Tiles

- Installation

- Installation of the tiles shall not commence until the work of other trade, including painting has been completed.

- The Contractor shall carefully examine all surfaces over which the tiles are to be set.

- Floor surfaces that are to receive vinyl tile shall be clean; thoroughly dry; smooth; firm and sound; free from oil, paint, wax, dirt, and any other damaging materials.

- Start in the center of the room or work area and work from the center towards the edges.

- Keep tile lines and joints square, symmetrical, tight and even and each floor in a true, level plane, except where indicated as sloped.

- Vary edge width as necessary to maintain full size tiles in the field but no edge tile shall be less than one half the field tile sizes, except where irregular shaped rooms make it impossible.

- Tile Laying Design

- The tile laying design shall be indicated on Plans and in the colors selected and approved by

The CPDMO Architects/Engineers/Inspectors for each area.

- All joints shall be parallel to wall lines except otherwise indicated on plan.

- Where line patterns of tile run perpendicular to lines of other tiles, they shall be laid truly at right angles.

- Adhesive

- Adhesive shall be applied in accordance with the adhesive manufacturer’s printed directions unless specified or directed otherwise.

- Smoking, the use of open flames, and other sources of ignitions are strictly prohibited in the area where solvent containing adhesives are being used or laid.

- Cutting, Cleaning and Protection

- Cut ceramic floor tile to and fit around all permanent fixtures, pipes and outlets.

- Cut edges, fit and scribe to walls and partition after flooring has been applied.

- After the vinyl tiles and accessories are laid and set, it shall be cleaned with a cleaner as recommended by the manufacturer and a coat of approved seal polish.

- After the floor has been waxed, they shall be carefully protected against damage, either with heavy building paper or by keeping traffic off the floors until the area is ready for use.

For Epoxy Paint Finish Flooring

- Provide the necessary floor topping to level the floor finish.

- For floor termination and junction of floor finishes, refer to details as shown on plans.

- Contractor should ensure proper leveling of floor substrate prior to the inst. of floor finishes.

- Contractor should ensure proper installation, termination and junction of finishes to existing wall and floors as per building property standards.

- Submit sample of tiles for approval of CPDMO Project Architect/Engineer and End-users.

09700     Wall Finishes

Scope of Works

- The work to be done under this item consist of furnishing all required materials, fabricated woodwork, tools, equipment and labor and performing all operations necessary for the satisfactory completion of all carpentry and joinery works in strict accord with applicable drawings, details and these Specifications.

Materials Requirements

- Use (WF-04) 6mm thick fiber cement board on metal furring puttied, sanded and ready to received paint.

- Use 4” CHB (WF-03) wall plastered, puttied, sanded and ready to received paint.

- Use 600mm x 600mm homogeneous porcelain wall tiles, polished, provide warranty certification for anti-stain.

- Tile Grout

- Tile Adhesive

Construction Requirements

- Provide all the necessary accessories for proper installation.

- Follow plan for the design and layout of the partitions.

- Materials shall be subjected to the approval of the supervising CPDMO’s Project

Architect / Engineers / Inspectors.

09910    Paints and Coatings

Scope of Works

- This Item shall consist of furnishing all paints, enamels, varnishes and other products to be used including labor, tools and equipment required as shown on the Plans and in accordance with this Specification.

Materials Requirements

- Specified materials shall be delivered to the job site bearing manufacturers’ name, brand name, type of paint, analysis showing all important constituents of the paint, color of paint and instructions for thinning.

- Specified item and/or its components shall be handled in such manner as to prevent damage. The same shall be properly protected from harmful elements or damage by other work prior to its incorporation Into the Project.

- Store materials in a well ventilated space designated for the storage and mixing of paint.  Materials delivered to the site shall be properly stored as to minimize exposure to extremes of temperature.

Quality Assurance

- The University reserves the right to subject material samples to test at his expenses. If such material tests do not meet the specified standards, the cost will be charged to the Contractor.

- Number of coats, where specified, is minimum. Contractor shall apply as many as required to meet specifications for solid, uniform appearance. Where film thickness in mils is specified, spot checks will be made to determine compliance with specified thickness.

Submittals

- Submit 2 samples of each and every color or finish (including all coats). Where the same color or finish is to be applied over different materials, samples of each shall be submitted on different materials, where practical.

- Sample size shall be a minimum of 150 mm x 150 mm (6” x 6”).

Protection

- Paint materials shall be properly protected from damage, providing for adequate storage space. Take all necessary precautions to prevent fire, such as keeping oily rags in U. L. approved metal containers or removing from building at the end of each day’s work.

- All work fittings, furniture, etc., are to be suitably protected during execution of the work. Splashes on floors, walls, etc. are to be removed during progress of work and on the whole, left clean and perfect upon completion.

- No exterior or exposed painting shall be carried out under adverse weather conditions, such as extremes of temperature, during rain, fog, etc., or if there is excessive dust in the air.

Lead Content and Warning Labels

- The material manufacturer shall state the lead content on the label of any paint product container based on metal percentage of total solids.

- The label of any paint product exceeding 0.5% lead content shall include the following statement: “This paint contains more than 0.55 lead content and shall not be used on surfaces accessible to children.”

Repair of Defective Work

- All defective or damaged work shall be restored to initial condition.

- All voids, cracks, nicks, etc., will be repaired with proper patching material and finished flush with surrounding surfaces.

- Marred or damaged shop coats on metal shall be spot-primed with appropriate metal primer.

- Defective or damaged items and/or components , which cannot be repaired or restored to initial conditions, shall be removed and replaced to the satisfaction of the Architect at no additional cost to the Owner.

Cleaning

- Upon completion of the building, the Painting Contractor shall remove all paint spots from all finished work, remove all empty cans and leave the entire premises free from rubbish or other debris caused by his work. He shall remove his equipment from the premises. He shall clean off all glass free from paint spots and smears and shall present the work clean and free from all types of blemishes.

# Products

General:

- Materials are specified to establish the standards of grade and quality desired for the work, principal pigments and vehicle types and minimum percentage of solids content by volume.

- The products of Manufacturers not named may be submitted for use provided they are equal in quality and grade to the primers and finishes specified as approved by the Architect. If substitute paint products are desired, a statement shall be submitted to the Architect giving the Manufacturers name, proposed primer and finish for each paint system, analysis for each type of paint, and the use or uses intended. Failure to submit such statements will be cause for rejection.

- In cases where the name of a brand or supplier is mentioned under a particular specification, only paint or primer of that manufacturer is acceptable and no substitution shall be permitted on the grounds that the brand specified is not available in the local market. Materials of one manufacturer shall not be applied over that of another, except In the case of shop primer coat.

Color, Gloss and Texture:

- Refer to Finish Schedule. All work is to be completed without deviation from these unless written approval is received from the Architect. No extra cost shall be allowed because of the color variety scheduled.

Execution

General:

- Work-in-place, on which specified work is to be applied, shall be examined to insure that conditions are satisfactory for application of specified materials. Any defect, which may influence satisfactory completion of specified work, shall be report, in writing, to the Architect. Absence of such notification will be construed as acceptance of work-in-place.

- Do not apply exterior paint in damp or rainy weather or until surfaces have thoroughly dried from the effects of such weather.

- Before start of painting, remove finish hardware, accessories, plates, lighting fixtures, and similar Items, as approved by the Architect, except UL. Labels on Fire Door and Frames, which must not be removed. Use only workmen skilled in the applicable building trade for removal and reinstallation of finished item in-place.

- The following items shall be masked or protected with suitable covering:

- Sealing1 caulking and glazing compounds (unless otherwise directed by 	the Architect).

- Glass.

- Gauges, thermometers and other recording devices.

- Moving parts of machinery and other mechanical equipment - such as: shafts, couplings, valve stems, and the like.

- Coated decorative sheet metal work.

- Sprinkler heads and the like.

- U.L. Labels

Surfaces Preparation As Applied To Various Substrate

- Wood

New Surface:

- Surface to be painted should be clean and dry, free from oil, grease, dust, dirt, contaminants and all loose girt or mortar; sand rough edges remaining, countersink nail heads for putty applications.

- Dust off surfaces completely then wipe with a clean rag.

- Metal

New Surface:

- Surface to be painted should be clean and dry, free from oil, grease, dust, dirt, wax, solder flux, and other contaminants by wiping with mineral spirits or paint thinner.

- Remove rust by wire brushing, sanding or scraping.

- Where maximum performance of protective coatings is necessary (e.g. Industrial Plants), prepare surface by blast cleaning.

- Concrete:

New Surface:

- Surface to be painted should be clean and dry, free from oil, grease, dust, dirt, contaminants and all loose girt or mortar.

- Treat with masonry neutralizer. Mix (1) liter of B-44 with (16) liters of water. Apply liberally by brush and let dry overnight.

- Rinse with water to remove white crystals that form on the surface. Let dry.

Paint Application

- General: Specified work shall be done by skilled painters in a workmanlike manner. All spaces shall be broom-cleaned before painting is started. Surface to be painted shall be clean, dry, smooth and adequately protected from dampness. Each coat of paint shall be allowed to dry at least twenty-four (24) hours before succeeding coat is applied. Finish work shall be uniform, of approved color, smooth and free from runs, sags, defective coverage, clogging or excessive flooding. If surfaces are not adequately covered, as determined by the CPDMO Architect/Engineers/Inspectors, further coat shall be applied to the satisfaction of the CPDMO Technical Group. Edges of paint adjoining other materials or colors shall be sharp and clean without overlapping.

- Paint Mixing: Paint mixing and thinning shall be done only in accordance with directions of Manufacturer. Paint must be strained free from all skin and extraneous substances and shall be thoroughly mixed in a clean container during use.

- Methods of Application: Exterior first coats and Interior first coats shall be applied by brush, except on shop-primed surfaces, which shall be applied by brush or roller. All primer shall be applied by brush. Succeeding coats over field-primed surfaces and all coats over shop-primed surfaces may be applied by brush roller or spray. Distemper brushes are to be of approved type and less than 15 cm In width. Rollers for applying enamel shall have a short nap. Spray equipment shall be as recommended by the manufacturer of the paint used. Areas inaccessible to spray painting shall be coated by brushing or suitable method.

- Coating: Consecutive coats of paints are to be slightly differing tints except in the case white. Each coat shall be allowed to harden before the next Is applied. Rubbing down between coats is to be done with fine abrasive paper.

- Wood Finishing:  Wood to have natural satin varnish finish shall be stained as required and sealed as soon as such Items are delivered to the job site. Seal all ends to exclude moisture. Knotting shall be carried out by using shellac dissolved in spirit or approved ready mixed compound.

- Woodwork and Metal Work: Primed or undercoated woodwork and metalwork shall not be left in an exposed or unsuitable situation for an undue period before completing the painting process. Stopping and filling shall be deemed to be included for all metal works, plaster works, and wood work specified to be used to produce a surface ready for priming and painting.

- Final Touch-Up: Upon completion, finish work shall be touched-up and restored where damaged and left in good condition.

Painting Schedule

General:

- Painting Systems shall be applied to surfaces as scheduled. All walls to be painted shall be plastered prior to painting. All under slabs to be painted shall have fair-faced concrete.

- Film Thickness: As recommended by paint manufacturer for the paint specified, includes thickness in mils and number of coats.

Schedule:

- Masonry and Dry Wall Surfaces

Interior Surfaces

Textured Finish (flat, semi – gloss, gloss paint). Treat with masonry neutralizer.

1st Coat 						: 	 	Flat Latex

Putty 						:	 	Masonry Putty

2nd & 3rd Coat  		: 		low VOC, premium Acrylic, water-based w/ Microban Antibacterial protection

- Metal Surfaces

Gloss Finish (Epoxy type) for metal elements and fire exit doors, wrought iron grilles, W. I. railing, B. I. and G. I. pipe handrails

1st coat 	: 	Epoxy Primer

2nd coat	: 	Epoxy Enamel

3rd coat 	: 	Epoxy Enamel

Division 10 – Specialties

10240     Grilles and Screens

Scope of Work

- This item shall consist of fabrication of grilles on windows including labor, tools, equipment, and the satisfactory performance in undertaking the proper installation of the system as shown on the Plans and in accordance with this Specifications.

Construction Requirements

Fabrications

- Welding, shearing, gas cutting, chipping and all other works involved in the fabrication of metal shall be done with accuracy and of the highest quality of workmanship, within the allowable tolerance prescribed in the AISC specifications.

Welding

- The technique, appearance and quality of welds and the method of correcting defective work shall conform to the applicable provisions of “Workmanship of the Standard Code for Welding in Building Construction of the American Welding Society.”

- Welding of ACU grilles and frames on field, shall be done only by a certified and experienced welder.

- Surfaces to be welded shall be free from loose side, rust, grease, paint and other foreign materials that will impair the soundness of the weld.

- Temporary weld and assembly attachments shall be kept to a minimum. All temporary attachment that are welded, shall be removed by a flame torch above the parent metal surface and ground to smooth surface by power grinding.

- Note shall be made on the Plans and on the shop drawings of those joints or groups of joints in which it is especially important for the welding sequence and technique of welding to be controlled carefully, to minimize welding under restraint, and to avoid undue distortion.

- Weld length called on the Plans and on the shop drawings shall be the net effective length.

10260     Wall & Corner Guards

Scope of Work

- This item shall consist of fabrication of Perimeter Fence and Wall Garden including labor, tools, equipment, and the satisfactory performance in undertaking the proper installation of the system as shown on the Plans and in accordance with this Specifications

Construction Requirements

Fabrications

- Welding, shearing, gas cutting, chipping and all other works involved in the fabrication of metal shall be done with accuracy and of the highest quality of workmanship, within the allowable tolerance prescribed in the AISC specifications.

Welding

- The technique, appearance and quality of welds and the method of correcting defective work shall conform to the applicable provisions of “Workmanship of the Standard Code for Welding in Building Construction of the American Welding Society.”

- Welding of ACU grilles and frames on field, shall be done only by a certified and experienced welder.

- Surfaces to be welded shall be free from loose side, rust, grease, paint and other foreign materials that will impair the soundness of the weld.

- Temporary weld and assembly attachments shall be kept to a minimum. All temporary attachment that are welded, shall be removed by a flame torch above the parent metal surface and ground to smooth surface by power grinding.

- Note shall be made on the Plans and on the shop drawings of those joints or groups of joints in which it is especially important for the welding sequence and technique of welding to be controlled carefully, to minimize welding under restraint, and to avoid undue distortion.

- Weld length called on the Plans and on the shop drawings shall be the net effective length.

10340    Exterior Specialties

Scope of Work

- This item shall consist of supply and installation of 0.80 m dia. UPM Logo 3D Fiber glass with complete accessories including labor, tools, and the satisfactory performance in undertaking the proper installation of the item as shown on the Plans and in accordance with this specifications.

Construction Requirements

- Provide all the necessary preparation prior to the installation.

- Provide all the necessary accessories and framing for proper installation.

- Ensure adequate hanger and support to all the utilities on the area.

- Restore all affected areas.

10600     Partitions

Scope of Work

- This item shall consist of fabrication of phenolic board partition in comfort rooms including labor, tools, equipment, and the satisfactory performance in undertaking the proper installation of the system as shown on the Plans and in accordance with this specifications.

Material Requirements

- Use 12 mm thick phenolic board approved by the CPDMO.

- Install rubber door stopper.

Construction Requirements

- Provide all the necessary preparation prior to the installation.

- Provide all the necessary accessories and framing for proper installation.

- Ensure adequate hanger and support to all the utilities on the area.

- Restore all affected areas.

Division 12 – Furnishing

125200		Furniture

General

All casework shall be of modern design and constructed in accordance with the best practices of the wood furniture industry. Construction and design will result in “built-in” installations of cabinetry that have the appearance of flush overlay construction without protuberances.

Standard Material Specifications

TABLE

- Transaction Counter ( L-Shaped ) with Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging & 80 mm thk fabric/glass panel.

- Staff Table (L-Shaped) with Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging with metal legs and frameless fabric panel including panel holder & sharing plate.

- Staff Table-1 (L-Shaped)  with Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging & 35 mm thk woodgrain panel.

- Staff Table-1 with Mobile Pedestal & Hanging Cabinet

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging with metal legs and frameless fabric panel including panel holder & sharing plate.

- Staff Table-2 (L-Shaped) with Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging with metal legs and frameless fabric panel including panel holder & sharing plate.

- Staff Table-2 with Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging with metal legs and frameless fabric panel including panel holder & sharing plate.

- Staff Table-3 with Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging with metal legs and frameless fabric panel including panel holder & sharing plate.

- Executive Table

36 mm thk worktop HPL with side panel, all edging are in HPL, side cabinet/open shelf/modesty are full HPL, worktop and swing door in MDF core, wenge crown.

- Information Counter -1 (L-Shaped) w/ Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, 80 mm thk panel in fabric, mild steel legs and metal perforated modesty panel.

- Information Counter-2 (L-Shaped) w/ Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, 80 mm thk panel in fabric, mild steel legs and metal perforated modesty panel.

- Conference Table

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, curved legs & frame.

- Pantry Table

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, mild steel legs.

- Administrative Officer Table (L-Shaped) w/ Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, perforated metal modesty panel and mild steel legs.

- Photo Booth Table w/ Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, perforated metal modesty panel and mild steel legs.

- Writing Table

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging & mild steel legs.

- Computer Table w/ Mobile Pedestal

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging with metal legs and frameless fabric panel including panel holder & sharing plate.

- Meeting Table

25 mm thk melamine faced chipboard (MFC) worktop in high pressure laminate (HPL) wood grain finish c/w 2 mm PVC matching edging, mild steel legs and leg stabilizer.

CHAIR

- Executive Chair

Upholstery		:	Backrest in black mesh & seat in black leather finish.

Base				:	Crown base in chrome finish.

Arm				:	Height adjustable

Seat				:	Height adjustable

Mechanism	:	Single lock, synchronize, fix seat

w/ adjustable headrest

- Staff/Student Chair

Upholstery		:	Backrest in black mesh & seat in black leather finish.

Base				:	Nylon base w/ castor in black finish.

Arm				:	Height adjustable

Mechanism	:	Single lock, synchronize, fix seat

- Conference Chair

Upholstery		:	Nylon mesh

Base				:	Fixed die cast aluminum cantilever base in chrome finish

Arm				:	Fixed die cast aluminum armrest in chrome finish

Seat				:	Fixed

- Visitor Chair

Upholstery		:	Backrest in black mesh & seat in new icon fabric

Base				:	Normal cantilever base in chrome finish

Arm				:	Height adjustable

Seat				:	Fixed

- 3-Seater Sofa

Upholstery		:	Single line stitching in black bovine leather

Frame			:	Stainless steel frame

Arm				:	PU molded fixed arm

Seat				:	Seat cushion w/ spring in PU moulded

- Pantry Chair

Sled Type, Stackable chrome base

Mobile Pedestal

-metal mild steel high mobile pedestal (2 drawers & 1 filing)

Division 15 – Mechanical

15400     Plumbing System

Scope of Work

- This item shall consist of supply of all plumbing system with accessories including labor, tools, equipment, testing, commissioning, and the satisfactory performance in undertaking the proper installation of the system as shown on the Plans and in accordance with this Specifications

Construction Notes

- All plumbing works included herein shall be executed in accordance to the provision of the Revised National Plumbing Code of the Philippines, 1999 Edition, The National Plumbing Code and Local Rules and Regulations of the Municipality.

- Coordinate the drawings with other related drawings and specifications. The Engineer and/or Architect shall be notified immediately of any discrepancy found herein.

- All pipes shall be installed as indicated, any relocation required for proper execution of the plumbing work shall be with prior approval of the Engineer and/or Architect.

- Proposed sanitary utilities shall conform to the actual location, depth and invert elevations of all existing pipes and structures as verified by the Contractor.

- All slopes for horizontal drainage shall maintain two percent (0.02) and one percent (0.01) minimum unless otherwise specified.

- Water supply pipe to fixture shall be sized in accordance with the manufacturer’s recommendations and/or plumbing code.

- All branches of fixture or group of fixtures shall be provided with air chamber made of capped vertical extension pipe of 300mm min. to 450mm maximum.

- All water lines shall be hydrostatically tested at 100psi for a period of two (2) hours before buried or covered. Galvanized iron (G.I.) pipes directly in contact with soil shall be provided with two coats of coal tar and wrapped with jute sack and painted with coal tar.

- The Contractor shall verify all existing utilities at site and coordinate the work with the sewer and waterline service connecting/tapping point.

- All pipe sizes and other dimensions are in millimeter (mm) unless otherwise specified and are indicative of inside diameter.

Material Requirements

- Waterline / Water Distribution

- Use Polypropylene (PPR) type system for cold and hot (as needed) waterline pipes and fittings jointing by socket fusion, conforming to ASTM F1335

- Confer to Project Architect the brand and approved equivalent.

- Provide sample for approval.

- Sanitary Lines / Sanitary Sewerage

- Use Polyvinyl Chloride (PVC) Series 1000 pipes and fittings for sanitary lines (sewer, vent and waste pipes), conforming to ASTM 2729

- Confer to Project Architect the brand and approved equivalent

- Provide sample for approval.

- Plumbing Fixture

- Water closet: compact elongated type, color: white, 6 liters per flush, anti-bacterial complete with fittings and accessories;

- Lavatory with complete fittings and accessories, submit sample for approval;

- Faucet: stainless shower with complete fittings and accessories, submit sample for approval

- Shower: stainless shower with complete fittings and accessories, submit sample for approval

- Floor drain: brass/stainless steel plate with slotted opening strainer complete with powder coated cast iron frame;

- Storm Drainage System

- Use Polyvinyl Chloride (PVC) pipes and fittings for sanitary lines.

- Confer to Project Architect the brand and approved equivalent in conformity with the existing lines.

- Provide sample for approval.

- Equipments

- Centrifugal/Transfer Pumps and accessories(Ground Level): Capacity-36GPM VS 105 FT-TDH (5HP)/ 3 phase

- Pump Controller (Magnetic Contactor)

- Stainless steel storage/water tank (Potable): 4,000 liters capacity with liquid level controller

- Area drain and catch basin

- Provide samples for approval.

Construction Requirements

- Make the necessary preparation works for the installation of water system, sanitary and sewer system, storm and drainage system, plumbing fixture, and plumbing equipments on the specified area.

- Ensure proper installation of the system, tap to the nearest water distribution area, and to the nearest sewer area

- Ensure complete and proper installation of brackets and supports.

- Testing and commissioning shall be done for the whole system and equipments in the presence of the Engineer and Owner or his representative.

- All restoration and rehabilitation works shall be done on the affected areas to the same features with the existing or as per the required finish.

Division 16 - Electrical

Workmanship and Materials

- All works shall be done in accordance with the requirements of the latest edition of the Philippine Electrical Code and National Safety Code. Nothing contained in these specifications or shown on the plan shall conflict with the requirements of these Codes, any discrepancies should be consulted to the Project Inspector / Electrical Engineer.

- All materials and equipment to be used and installed hereunder shall be of the approved type bearing the stamp or approval of the proper authorities concerned. Locally made or constructed materials shall first be approved before installation.

- All works shall be done in workmanlike manner and should present a neat and mechanical appearance when completed.

Plans

- The accompanying drawings shall indicate the general arrangement of the equipments, outlets and other works. When it is necessary to deviate from the arrangement indicated on plans in order to meet the structural conditions, such deviation shall be made at the expense of the Contractor and upon approval from the Project Inspector / Electrical Engineer.

- The outlets and circuit breakers shown on the plan are diagrammatic and approximately correct as to location. Minor changes shall be made through the Contractor at his own expense. The exact location of all outlets and switches shall be determined by the Project Inspector/Electrical Engineer and the same shall be located accordingly. The Contractor shall be responsible for the accurate location of all outlets with respect to doors, partitions, water pipes, cabinets and other facilities.

16050     Basic Electrical Materials and Methods

Conductors and Cables

- Wires and cable for lights and power shall be type THHN/THW 600 volts insulation approved type building wire. No. 3.5 mm THHN shall be used from the panel board to the last outlet, and shall be the smallest wire that should be used, unless otherwise No. 8.0mm wires THNN and larger shall be stranded and be connected to the panel boards and equipment by solder less connectors sufficiently large to enclose all strands of the conductor and be securely fastened. They shall not get loose under vibration and normal strain. Wire splices shall be mechanically and electrically secured and soldered. Joints taps and splices in wires larger than No. 10 AWG shall be made with the use of solder less connectors. They shall be tapped with electrical tape to the thickness of the wire insulation.

- Wires and cables shall be continued from outlet, or outlet to pull boxes without splices. Conductors shall not be drawn in conduits until plaster is dry and the conduits are cleaned and free of moisture. Conductors of other systems shall not occupy the same conduit and boxes used for light and power.

- Complete supply and installation of wires and cables shall be included in this scope of works.

Conduit System

- Rigid Steel Conduit (RSC) conduit pipes and accessories, are primarily required for this work. Conduit runs shall be well supported especially on ceiling and slab. All conduits placed on walls and partition shall be embedded, exposed layout will not be allowed. Conduit ends shall be provided with an end bell or adapter with locknut and bushing. Conduit shall enter knockouts squarely.  Locknuts and bushing shall be used at termination of conduits in outlets, pull or junction boxes, panels and cabinets. Locknuts shall be screwed tight. Bends and offsets shall be avoided if possible, but when necessary it shall be made with an approved Field bend or pipe / conduit bending machine.  The use of pipe tee or vice bending conduits will not be permitted.

Restrictions:

- Supply and installation of all material not shown in the drawing nor mentioned in this specification but necessary for the completion of the construction works shall be included. Coordination with CPDMO Project Inspector should be done for proper installation of all wiring systems.

Wiring Devices

- All wiring devices to be used hereunder shall be new and of approved type. All wall switches shall be top-action quiet-matic type, wide series, and bases to be fire-resistant and non-absorptive material. When more than one switches is indicated in the same location, they shall be mounted in gang under a common plate.

- Convenience outlet shall be duplex-type, universal & flush–type with fire-resistant non-absorptive bases, all duplex 3-wire grounding type with paneled slots receptacles minimum rating of 10 amperes at 250 volts.

- Suitable single pole and heavy-duty switches shall be installed where indicated on the plans. National brands wiring devices are primarily required. Equivalent brand shall be presented for approval. Minor relocations and re-circuiting shall be the liability of the Contractor.

- Following features shall be as follows: one gang one way switch; two gang one way switch; three gang one way switch, two gang three way switch, duplex flush type convenience outlet universal type complete with plate cover and strap, “Panasonic” or approved equal.

Boxes and Pull boxes

- All conduit boxes and fittings (Husky, Emerald or approved equivalent brand) shall be standard zinc-coated steel manufactured by reputable electrical manufacturers. All conduit boxes not over 100 cubic inches in size, if constructed of sheet metal, the metal shall not be less than No.14 US gauge and shall be set flush with the surface of the structure in which they are installed and where conduit runs are concealed. Care shall be exercised to line up all outlet boxes, 4” octagon type and 1-½” depth.  When more than two conduits enter the outlet box, the 2-1/8” depth type box shall be removed. All outlet boxes indicated to be used for lighting fixtures shall be provided with standard flat metal covers.

- Horizontal or vertical gang boxes shall be installed as indicated or when required. All conduit boxes, junction boxes, and blank outlet boxes shall be fitted with standard flat metal conduit box covers.

Lighting Fixtures

- 8"Ø recessed horizontal downlight with 2-e27 7watts LED bulb daylight /coolwhite and center frost glass cover.

- Emergency light 2-1.5W LED (22hrs)

16070     Hangers and Supports

- All electrical pipes and accessories shall be using appropriate hangers and support follow existing features. Exposed layout on walls and partition inside offices shall not be allowed. Chipping works required.

16080     Testing of System

- Complete testing of the system involved in operation and provision of all system apparatus for making test and guarantee for a period of one (1) year after acceptance of the project and shall agree to repair and make good at his expense.

16090     Restoration and Repair

- Restoration and repainting of damaged walls, windows, ceiling and exposed conduits shall be the Contractors liability.

NOTE

The foregoing list of item of works does not in anyway limit the responsibility of the Contractor to perform all other works necessary for the completion of the project, PROPOSED RENOVATION OF JOAQUIN GONZALEZ - PHASE 2.

GUARANTEE

The Contractor shall guarantee all works under this contract to be free from any technical, mechanical and electrical defects and shall replace and repair to the satisfaction of the Project Architect / Engineer and/or to the Chief of CPDMO on any part or portion of the work which may fail within a period of one (1) year after the final acceptance of the system provided such failure is due to defects in the material or workmanship.

COMPLETION PERIOD

The Contractor is given One Hundred Eighty (180) calendar days to execute the renovation works including the installation all system requirements. The Contractor shall coordinate to the CPDMO Inspector and End-users for the schedule of testing of systems and other related job.

Prepared by:

### (SGD.)TRISTAN A. MENDOZA										(SGD.)RENATO REMORQUE

##### Sr. Assistant Engineer I,	 												Engineer I, Electrical

##### (SGD.)AR. LEONARD P. CORDERO

##### Administrative Officer V

##### Certified Correct:

### (SGD.)AR. ALLEN R. BUENAVENTURA

Chief

Recommending Approval:

(SGD.)MICHAEL L. TEE, MD, MHPEd			(SGD.)ARLENE A. SAMANIEGO, MD.

Vice Chancellor for Planning & Development					Vice Chancellor for Administration

Approved by:

(SGD.)CARMENCITA D. PADILLA, MD. MAHPS

Chancellor