SUPPLEMENTAL/ BID BULLETIN

University of the Philippines Manila

The Health Sciences Center

BIDS AND AWARDS COMMITEE 3

ADDENDUM No. BACIII-16-08

This Addendum No. BACIII-16-08  is issued to modify or amend item in the Bid Documents. This shall from and integral part of the Bid Documents for Supply of Ultracentrifuge (Purchase Request No.: HIV2-01 ) as follows:

1.

| Particular | From | To |
| --- | --- | --- |
| Technical Specifications: Inclusions: | Speed Control: ñ50 rpm of set speed Power requirement: 100-24V, 50/60 Hz Dimensions: 73.9W x 61.7D x 34.5H cm (29.1W x 24.3D x 13.6H in) Weight: 105 kg (230 lb) | Speed Control: ±50 rpm of set speed Power requirement: 100-240V, 50/60 Hz Dimensions: not more than 73.9W x 61.7D x 34.5H cm (29.1W x 24.3D x 13.6H in) Weight: not more than 105 kg (230 lb) 1. All three centrifuges should be of the same brand 2. The rotor pertained under "inclusions" was not refer to another separated rotor (second rotor for the ultracentrifuge). |

2. All the other specifications, terms and conditions remains the same.

3. This is posted at PhilGEPS www.philgeps.com.ph

For guidance and information of all concerned.

ORIGINAL SIGNED

DR. TRISTAN NATHANIEL C. RAMOS

Chair, Bids and Awards Committee III

Received by the Bidder:

____________________________

Date: _______________________