## SUPPLEMENTAL / BID BULLETIN

Republic of the Philippines

UNIVERSITY OF THE PHILIPPINES MANILA

# The Health Sciences Center

## Bids and Awards Committee I

Taft Avenue, Manila

Tel. #526-4359 Fax # 554-8420

E-mail Address: bac1.upmla@gmail.com

30 September 2014

## ADDENDUM NO. 2014-014

This Addendum No. 2014-14 is issued to modify or amend the Bid Documents for SUPPLY AND DELIVERY OF ELECTRICAL  SUPPLIES  AND MATERIALS – SINGLE BID ONLY – OFFICE OF THE ENGINEERING AND TECHNICAL SERVICES  with BID No. BAC1-2014-014  scheduled on 13 October  2014 .  This shall form an integral part of the Bid Documents.

- The   Supply and Delivery of  Electrical Supplies and Materials – Single Bid Only – Office of the Engineering and Technical Services  with  an Approved Budget for the Contract  of  PHP1,070,000.00  shall be bid/ procured/purchased thru Lot and not on per line  item basis.

- The following should be corrected as:

Section VIII Bidding Forms

c. List of Items to be Bid

| ITEM NO. | FROM | TO |
| --- | --- | --- |
| PUR14-08-1221- OETS (CENTRAL BLOCK OPERATING ROOM) |
| 3. | Tie wire, plastic, 12 inch length, | Tie wire, plastic, 12 inch length, 100’s/bag |
| PUR14-08-1304 –OETS – ELECTRICAL (DEPARTMENT OF LABORATORIES) |
| 7. | PVC molding, white, ¾ inch wide, white | PVC molding, white, ¾ inch wide |
| PUR14-09-1307- OETS (CANCER INSTITUTE) |
| 2 | Industrial type, MCCB with enclosure, 3 pole 600 amperes (as per PGH sample) | Industrial type, MCCB with enclosure, 3 pole, 600 amperes, 600 volts (as per PGH sample) |

- The following is  deleted in the Terms and Conditions  in the List of  Items to be Bid

2.  All samples should be submitted to the BAC-1 Secretariat (Purchasing Office) on or

before  September 23, 2014.

4.  All samples should be properly labeled, indicate supplier’s name, item # and brand.

- Signatories for Envelope 1 and 2 should be the same person – President or General Manager.

- Eligible bidders are required to submit the Bid Security either in the form of:

- Cash/Cashier’s/Manager’s Check payable to the University of the Philippines Manila/Philippine General Hospital at two percent (2%) of the Total Approved Budget of the Contract (ABC)   Said amount should be paid at the UP Manila/PGH Cash Division and a photocopy of the Official Receipt should be attached to Envelope 1.

- A combination of Cash/Cashier’s/Manager’s Check at a minimum of P50,000.00 and the balance at 2% Bank draft/guarantee or Irrevocable Letter of Credit issued by a Universal or Commercial Bank; Provided, however, that it shall be confirmed or authenticated by a Universal or Commercial Bank, if issued by a foreign bank.  The Php50,000.00 should be paid at the UP Manila/PGH Cash Division and a photocopy of the Official Receipt should be attached to Envelope 1.

NOTE: Amount of Bid Security (Equal to percentage of the ABC) – First Php50,000.00 and the rest 2% bank draft/guarantee or irrevocable letter of credit.

- A combination of Cash/Cashier’s/Manager’s Check at a minimum of Php50,000.00 and the balance at 5% Surety Bond callable upon demand, it shall be accompanied by a certification by the Insurance Commission that the surety or insurance company is authorized to issue such instruments.  The Php50,000.00 should be paid at the UP Manila/PGH Cash Division and a photocopy of the Official Receipt and original copy of the Surety Bond should be attached to Envelope 1.

NOTE:  Amount of Bid Security (Equal to Percentage of the ABC) – First Php50,000.00 and the rest 5% Surety Bond.

- Bid Securing Declaration

- Bid Bulletin, Financial bid form – which includes bid prices, bill of quantities and applicable price schedules, and any other document required in the BIDS will form part of Envelope No. 2 and will be submitted together with Envelope No. 1, on or before 9:00AM, 13 October  2014 at the Office of the Internal Audit, UP Manila, 8th Floor, Central Block Building, PGH Complex, Taft Avenue, Manila.

- Please refer to the Instruction to Bidders for other information.

For the information and guidance of all concerned.

Dean Teresita C. Mendoza,  MED, OTRP, FOTAP

Chair, Bids and Awards Committee 1

Received by the Bidder:

________________________

Signature over Printed Name

_________________________

Name of Company

_________________________

Date

# Text boxes

Standard Form No. SF-GOOD-30

Revised on: May 24, 2004